## Slide 1: Safe Drinking Water Act – Overview, Updates and SDWA/CWA Challenges
NACWA 2005 Law Seminar
November 10, 2005
Avis Marie Russell
General Counsel
District of Columbia
Water and Sewer Authority

## Slide 2: WASA
Multi-jurisdictional regional utility with a service area covering approximately 725 miles.
Provides drinking water to more than 500,000 residential, commercial and governmental customers in the District of Columbia.
Delivers water to over 130,000 locations in Washington, DC, and provides nearly 135 million gallons of drinking water a day for use by individuals and businesses.

## Slide 3: WASA
WASA operates the Blue Plains Advanced Wastewater Treatment Plant, which is the largest advanced wastewater treatment plant in the world.
The plant covers 150 acres with a capacity of 370 million gallons per day (mgd) and has a peak capacity of 1.076 billion gallons per day.
WASA collects and treats wastewater for 2.1 million customers in the District of Columbia, Montgomery and Prince George's counties in Maryland and Fairfax and Loudoun counties in Virginia.

## Slide 4: Presentation Objective
SDWA
  Purpose of the SDWA
  Overview of the regulatory structure
  Primary regulations
  Secondary regulations
  Enforcement mechanisms
  Relief mechanisms
  Information requirements
  Funding
  Other requirements

## Slide 5
Presentation Objective – Cont’d
Up Coming Regulations
  Long Term 2 Enhanced Surface Water Treatment Rule
  Stage 2 Disinfectant and Disinfection Byproducts Rule
  Ground Water Rule

## Slide 6
Presentation Objective – Cont’d
Meeting SDWA and CWA Requirements
  Case study of how they can get a long…
Emerging Issues

## Slide 7: SDWA – Regulatory Structure
Purpose
  Identify, monitor and control contaminants in finished water
  Identify, monitor contaminants in distribution system
  Collection and distribution of information
  Customer right-to-know
  Funding for upgrades

## Slide 8: SDWA – Regulatory Structure
Federal Regulations
  National Primary Drinking Water Regs 40 CFR part 141
  National Primary Drinking Water Regs Implementation 40 CFR part 142
  National Secondary Drinking Water Regs 40 CFR part 143
  Underground Injection Control Program 40 CFR part 144
  State UIC Program Requirements 40 CFR part 145
  Underground Injection Control Program Criteria & Standards 40 CFR part 146
  State Underground Injection Control Programs 40 CFR part 147
  Hazardous Waste Injection Restrictions 40 CFR part 148
  Sole Source Aquifers 40 CFR part 149
Notes: Font coordination

## Slide 9: SDWA – Regulatory Structure
State delegated to administer
  EPA directly implements the drinking water program in the District of Columbia, Wyoming and on Indian lands, except the Navajo Nation.
Regulates “public water system”
  15 service connections; Or
  Regularly serves 25 individuals
  At least 60 days per year
Notes: Font coordination, edit second bullet

## Slide 10: SDWA – Contaminant Control
Primary Regulations
  Maximum Contaminant Levels (MCLs) - The highest level of a contaminant that is allowed in drinking water to prevent adverse health effects.
  Maximum Contaminant Level Goals (MCLGs) – The level of a contaminant in water below which there is no known or expected risk of health. MCLGs allow for a margin of safety.

## Slide 11: SDWA – Contaminant Control
Primary Regulations
  MCLs
    Set as close to MCLGs as feasible
    Enforceable under federal law
    Cost/Benefit analysis
    EPA must identify additional contaminants for possible development of MCLs
  MCLGs
    Not enforceable under federal law
    No cost/benefit analysis

## Slide 12: SDWA – Contaminant Control
Primary Regulations
  Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.
  Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

## Slide 13: SDWA – Contaminant Control
Primary Regulations
  MRDLs
    Set as close to MRDLGs as feasible
    Enforceable under federal law
    Cost/Benefit analysis
  MRDLGs
    Not enforceable under federal law
    No cost/benefit analysis

## Slide 14: SDWA – Contaminant Control
Primary Regulations
  MCLs and MCLGs
  MRDL and MRDLGs
  Monitoring requirements
  Test methods, detection limits, and quantification requirements
  Recommend Best Available Technology (BAT)
  Reporting and record keeping requirements
  Variances and exemptions
  Public notice of violations, variances and exemptions

## Slide 15: SDWA – Contaminant Control
Secondary Regulations: Aesthetics
  Secondary Maximum Contaminant Levels (SMCL) standards:
    Regulate contaminant levels based on aesthetics such as color, taste and odor, which do not pose a risk to health.
    Guidelines, not enforceable limits.
    SMCLs are for contaminants that will not cause adverse health effects.
    Some states have adopted SMCLs.

## Slide 16: SDWA – Enforcement
Public Notice of Violations
  Tier 1 – 40 CFR 141.202
    Violation of MCLs for total coliform when fecal coliform or E. coli present; MCL for nitrates or, nitrites; or turbidity MCL; Waterborne disease outbreak; etc…
    Notice within 24-hours of learning of violation; consultation with primacy agency
  Tier 2 – 40 CFR 141.203
    All violations of MCLs, MRDL and treatment technique, except were Tier 1 notice is required…
    Notice within 30-days of learning of violation and repeat notice every 3-months as long as violation persists.

## Slide 17: SDWA – Enforcement
Public Notice of Violations
  Tier 3 – 40 CFR 141.204
    Monitoring violations or failure to comply with a testing procedure, except where Tier 1 notice is required or primacy agency requires Tier 2 notice
    Notice within 1-year after learning of violation
    Repeat notice as long as violation persists

## Slide 18: SDWA – Enforcement
State Enforcement Actions - 42 U.S.C.A § 300g-2
  Primacy States have primary enforcement responsibility
  Actions vary State-to-State
  Prepare annual report of violations

## Slide 19: SDWA – Enforcement
EPA Enforcement Actions - 42 U.S.C.A § 300g-3
  Primacy States:
    Notice to State
    13-days after providing notice, EPA may
      Issue Administrative Order
      Commence civil action or criminal prosecution
      Civil penalty not to exceed $25,000 per day of violation
  Nonprimacy State:
    EPA can take direct action with notice to local elected official

## Slide 20: SDWA – Enforcement
Citizen Suits - 42 U.S.C.A § 300j-8
  “Any person may commence a civil action on his own behalf” subject to SDWA procedural requirements and subject matter jurisdiction limitations against:
    Any person including U.S. and any other governmental instrumentality or agency to extent permitted by 11th amendment; or
    EPA Administrator for failure to perform any nondiscretionary act or duty under the SDWA.

## Slide 21: SDWA – Relief Mechanisms
Variances
Exemptions
Monitoring relief

## Slide 22: SDWA – Information Requirements
Information Collection Rule
  Applicable to large utilities
  Develop database for future regulations
Customer right-to-know
  Annual Consumer Confidence Reports
  Information on quality of drinking water
  Information of potential risks

## Slide 23: SDWA - Funding
Financial assistance through State Revolving Funds for systems that cannot afford necessary improvements
  Loans
  Purchase of debt obligation
  Guarantee or purchase insurance
  Security for state issued bonds

## Slide 24: SDWA – Other Requirements
Operator Certification
Capacity upgrades
Source Water Protection
  Ground Water
  Source Water Assessment
Conservation Guidelines
Risk Management

## Slide 25: SDWA – Final Rule Stage
Up Coming Regulations:
  Long Term 2 Enhanced Surface Water Treatment Rule
  Stage 2 Disinfectant and Disinfection Byproducts Rule
  Ground Water Rule

## Slide 26: SDWA - National Primary Drinking Water Regulations: Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR)
Status:
  Rule was proposed on August 11, 2003 , with comments due by January 9, 2004, after EPA extended the comment period 60 days.
  EPA submitted LT2ESWTR to OMB on March 31, 2005 for 90-day review;
  OMB completed their review on June 22, 2005;
  EPA staff expect that LT2ESWTR will be finalized with Stage 2 DBPR in December before the end of this year.

## Slide 27: SDWA - National Primary Drinking Water Regulations: Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR)
What Rule Does:
  Control risks from microbial pathogens, specifically cryptosporidium, in drinking water.
  Affects all water systems that use surface water as a source or ground water that is under the influence of surface water.
  May result in additional treatment either through enhanced disinfection practices or undertaking treatment and management options.

## Slide 28: SDWA - National Primary Drinking Water Regulations: Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR)
Summary of Rule Provisions:
  Source Water Monitoring framework
  Additional Cryptosporidium treatment for filtered systems
  Inactivation of Cryptosporidium by all unfiltered systems
  Disinfection profiling and benchmarking
  Uncovered finished water storage facilities
  Microbial toolbox criteria
  CT and Inactivation Tables

## Slide 29: SDWA - National Primary Drinking Water Regulations: Stage 2 Disinfectant and Disinfection Byproducts Rule (Stage-2 DBPR)
Status:
  Rule was proposed on August 18, 2003, with comments due by January 9, 2004 , after EPA extended the comment period 60 days.
  EPA submitted Stage-2 DBPR to OMB on August 26, 2005 for 90-day review;
  OMB has not completed their review, as of October 26, 2005;
  EPA staff expect that the Stage 2 DBPR will be finalized with LT2ESWTR in December 2005.

## Slide 30: SDWA - National Primary Drinking Water Regulations: Stage 2 Disinfectant and Disinfection Byproducts Rule (Stage-2 DBPR)
What Rule Does:
  Intended to expand existing public health protection and address concerns about risk trade-offs between pathogens and disinfection byproducts.
  Could affect all public water systems that add a disinfectant to the drinking water during any part of the treatment process.
  Requires risk-targeted DBP monitoring that may result in changes in operational practices.

## Slide 31: SDWA - National Primary Drinking Water Regulations: Stage 2 Disinfectant and Disinfection Byproducts Rule (Stage-2 DBPR)
What Rule Does: cont’d
  Affects all public water systems that add a disinfectant to the drinking water during any part of the treatment process.
  If there is a DBP significant excursion, systems would be required to:
    Evaluate distribution system operations to identify opportunities to reduce DBP,
    Prepare an evaluation report, and
    Review the evaluation report with primacy agency no later than the next sanitary survey.

## Slide 32: SDWA - National Primary Drinking Water Regulations: Stage 2 Disinfectant and Disinfection Byproducts Rule (Stage-2 DBPR)
Summary of Rule Provisions:
  Conduct Initial Distribution System Evaluation to identify new DBP sampling sites with high DBP concentrations
  Locational Running Annual Average (LRAA) - New method for calculating compliance with MCLs for Total Trihalomethanes and Haloacetic Acids
  New MCLG for Cholorform, Trichloroacetic Acid, and Monochloroacetic Acid
  New Consecutive System Applicability Criteria

## Slide 33: SDWA – Ground Water Rule
Status:
  Rule was proposed on May 10, 2000.
  EPA submitted the GWR to OMB in December 2004 for a 90-day review.
  EPA withdrew the GWR on March 2005 citing their inability to address issues related to the regulatory analysis within the 90-day OBM review period.
  EPA now expects to resubmit the GWR to OMB, after promulgating the LT2ESWTR and Stage-2 DBPR, with promulgation by April 2006.*
  *Information provided by EPA orally, prior to publication in Federal Register as of the time of this writing.

## Slide 34: SDWA – Ground Water Rule
What Rule Does:
  The 1996 amendments to the SDWA require EPA to develop regulations that require disinfection of groundwater systems “as necessary” to protect the public health.
  Intended to reduce public health risks associated with the consumption of waterborne pathogens from fecal contamination for a substantial number of people served by ground water sources.
  Applies to GW systems, and systems that mix surface and ground water if the groundwater is added directly to the distribution system and provided to consumers without treatment.

## Slide 35: SDWA – Ground Water Rule
Summary of Rule Provisions:
  System sanitary surveys performed by State
  Conduct hydrogeologic sensitivity assessment for undisinfected systems;
  Source water microbial monitoring by systems that do not disinfect and draw water from distribution system;
  Corrective action by any system with significant deficiencies or positive microbial samples indicating fecal contamination; and
  Compliance monitoring for systems which disinfect to ensure that they achieve 4-log inactivation or removal of viruses.

## Slide 36: SDWA/CWA - Case Study
Challenge – Simultaneous Compliance:
  SDWA Lead and Copper Rule Optimal Corrosion Control Treatment Requirements to reduce leaching of copper and lead at users’ tap.
  Wastewater Treatment System – selected corrosion control chemicals can impair operation.
  CWA NPDES Discharge Requirements – selected corrosion control chemicals can increase the concentration of the chemicals in the effluent discharged raising potential NPDES violation issues.

## Slide 37: SDWA/CWA - Case Study
Background:
  The Lead and Copper Rule requires public water systems to conduct periodic tap water monitoring.
  The Washington Aqueduct Division of the U.S. Army Corps of Engineers treats the Potomac River water and sells the water to DCWASA, City of Falls Church, VA, and Arlington County, VA.
  DCWASA, City of Falls Church, VA, and Arlington County, VA are required to monitor and maintain the distribution system.

## Slide 38: SDWA/CWA - Case Study
Background – cont’d
  In June 2002 DC WASA exceeded the US EPA lead action level in drinking water for the first time since 1993.
  For the two monitoring periods in 2003, the lead concentrations exceeded the lead action level.
  In the spring of 2003, EPA commissioned a study to evaluate the existing optimized corrosion control treatment (OCCT).
    Draft report speculated on a link between the excessive lead levels and use of monochloramine, but other utilities did not have a problem.
  Corrosion control problem required an amicable solution.

## Slide 39: SDWA/CWA - Case Study
Coordination:
  February 2004 – Technical Expert Working Group (TEWG) created to coordinate DC activities:
    EPA Headquarters’ Office of Ground Water and Drinking Water, EPA’s Office of Research and Development, and EPA Region III;
    Washington Aqueduct;
    DCWASA;
    District of Columbia Department of Health;
    Arlington County and Falls Church Virginia;
    Centers for Disease Control & Prevention; and
    Consultants: CH2MHill and The Cadmus Group

## Slide 40: SDWA/CWA - Case Study
Steps Forward:
  Conduct Desktop Corrosion Control study by Washington Aqueduct and CH2MHill:
    Goals
      Evaluate corrosion control treatment options;
      Develop a recommended corrosion plan; and
      Prepare a Optimum Corrosion Control Treatment document for submission to EPA for Approval
    Peer Review of corrosion control strategy

## Slide 41: SDWA/CWA - Case Study
Steps Forward: cont’d
  April 2004 - Desktop Corrosion Control study results:
    TEWG recommended that orthophosphate be added to the treatment system to control corrosion of lead materials.
    Peer Review Committee (PRC) evaluated TEWG recommendation and suggested that zinc orthophosphate would be better to solve the corrosion problem.
  Washington Aqueduct accepted PRC suggestion and proposed to use zinc orthophosphate.

## Slide 42: SDWA/CWA - Case Study
Prudent Measures:
  April 2004, EPA tasked The Cadmus Group to investigate the potential negative impacts from zinc orthophosphate on:
    The operation of wastewater treatment facilities, and
    The water quality of receiving waters.

## Slide 44: SDWA/CWA - Case Study
Impact Analysis Results:
  Endangered species in Rock Creek were sensitive to increased zinc concentrations, although likelihood of negative impacts was low due to dilution.
  Both Rock Creek and the Anacostia River have TMDLs for zinc. Zinc loadings would increase by up to 10 percent from CSO discharges.
  Zinc could inhibit the nitrification and activated sludge processes at the Arlington County treatment plant resulting in the decrease in the plants ability to remove nitrogen.

## Slide 45: SDWA/CWA - Case Study
Conclusions:
  On April 30, 2004 EPA approved the interim modification of the approved the interim OCCT using zinc orthophosphate for partial system application.
  Based on impact analysis results, on May 28, 2004 EPA modified the approved the interim OCCT for the partial system application of orthophosphate.
  On August 3, 2004, EPA modified the approved the interim OCCT for the full system application of orthophosphate.

## Slide 46: SDWA/CWA - Case Study
Conclusions:
  For the monitoring period Jan-June 2005, WASA’s tap water lead results were below the lead action level.
  Thus far, WASA is on track to meet the lead action level for the July-December 2005 monitoring period.

## Slide 47: SDWA/CWA - Case Study
Lessons Learned:
  Coordination
  Comprehensive Analysis
  Willingness to take a second look

## Slide 48: Emerging Issues
Source Water Protection
  In 1999 and 2000, the Toxic Substance Hydrology Program of the U.S. Geological Survey conducted a study of the water in 139 streams in 30 states:
    95 chemicals used everyday in homes, industry and agriculture that could enter the environment in wastewater.
    Detected one or more chemical in 80 percent of the streams sampled and 82 of the 95 chemicals were detected.
    Half of the streams contained 7 or more of these chemicals, and about one-third of the streams contained 20 or more of these chemicals.

## Slide 49: Emerging Issues
Current Studies
  Johns Hopkins studying - Pharmaceuticals and Antiseptics: Occurrence and Fate in Drinking Water, Sewer Treatment Facilities, and Coastal Waters
  UNC at Chapel Hill studying - Impact of Residual Pharmaceutical Agents and their Metabolites in Waste Effluents on Downstream Drinking Water Treatment Facilities
Study Cautions

## Slide 50: Conclusion
Safe Drinking Water Act
Clean Water Act