## Slide 1: Clean and Safe Drinking Water Acts Collide
Paul Calamita
AquaLaw

## Slide 2: Key Issues
Permitting for wastewater discharges above water intakes
Public Water Supply Use Designations
TMDLs to address both acts
Source water protection areas

## Slide 3: Key Issues (con’t)
Storm water and sewer overflow control plans and investments
What happened to inter-utility conflict resolution

## Slide 4
Permitting Wastewater Discharges Above Water Intakes

## Slide 5: Discharges Above Water Intakes
Are they Allowable?
  How far?
    ALCOSAN/Pittsburg Water
    Distance dispute
  What does your state do?
  Is there a magic set of criteria?

## Slide 6: Discharges Above Water Intakes
The intersection of facts and politics?
  Consider the congressional blending
  debate/acle
  Hypersensitivity to POTW & industrial discharges?
Buffer zones
  Based upon time of travel considerations
  Other factors

## Slide 7: Discharges Above Water Intakes
Effluent Holding Requirements?
  Storage ponds/facilities for 24-hours based upon time of travel?
  EPA guidance?
  Requirement for shellfish waters?

## Slide 8: Discharges Above Intakes Special Limits/Conditions
Any special NPDES requirements for POTW discharges above water intakes
  Disinfection (UV?)
  Backup power?
  Reporting requirements for upsets?
What about narrative criteria prohibiting the discharge of pollutants that will be injurious to human health for discharges above a water intake?
What about a crypto limit?

## Slide 9: Special NPDES Limits?
Any real problems in your State?
Any thoughts on whether there should be special requirements?
Legally, is SDWA a basis for NPDES permit limits?
Notes: PPCPs – yet another term
EPA may add PPCPs to 2008 contaminate list for standards devleopment
Disposal of unused pharmaceuticals
Numerous studies ongoing at:
National Center for Environmental Research
(http://www.epa.gov/ncer

## Slide 10: Discharges Above Intakes: Mutant Transgendered….
What about endocrine disruptors, personal care products and pharmaceuticals?
3-25% of pharmaceuticals unused
  Look in your medicine cabinet
Fish: are a major concern (esp. in the DC area these days)
People: increasing concern.

## Slide 11: CSO Discharges Above Intakes
Water intakes are sensitive areas
  Relocate
  Eliminate
  If not possible, then treat to meet applicable WQS

## Slide 12: Storm Water Discharges Above Intakes
Any special requirements?
If a TMDL is in place to protect fish we must pay special attention/care
What if downstream drinking water intake?

## Slide 13
Public Water Supply Designated Uses

## Slide 14: Public Water Supply Designations
When are such designations appropriate
How should they be applied?
  Streams with intakes
  Statewide/all waters
  After conventional treatment or instream?
    If the latter, where do you set the control point? (Intake, above at some point; entire stream)?

## Slide 15
The Role of Total Maximum Daily Loads
And Drinking Water Supplies

## Slide 16: Key Considerations
Compare concepts:
  CWA: TMDL
  SDWA: SWPP
    Could SWPPs allocate loads of POCs?
Where do the public water supply criteria apply?
  The TMDL will be set accordingly

## Slide 17: Key Considerations
Reconciling longer-term focused wastewater controls with constant drinking water quality concerns
  A classic intersection of the SWDA and CWA
  TMDLs that apply load limits on longer term bases
    CSOs (annual average)
    Storm water (monthly, seasonal, annual)
    Nutrients (annual average)

## Slide 18
Source Water Protection Areas and Plans

## Slide 19: Addressing Upstream Discharges
Should such plans address upstream permitted discharges?
How and to what extent?
How the inclusion or lack of inclusion of upstream point sources has played out
How far below discharge should there be notice of untreated discharges or upsets?

## Slide 20: Source Water Protection Plans
Should these plans be more formal?
Should they be recognized in CWA permitting?

## Slide 21
Storm Water and Sewer Overflow
Control Investments

## Slide 22: Storm Water Discharges to Drinking Water Streams
How many have SW discharges above their intakes
  How close?
How significant?
  What bacteria levels would you expect?
  Any known/suspected problems?
Any special BMPs for such outfalls?

## Slide 23: Storm Water Discharges to Drinking Water Streams
Wet weather discharges: high volume; enormous cost
If we should invest, where should we invest
  Storm Water control?
  Water plant barriers?

## Slide 24: Sewer Overflow Programs
Massive investments – typically largest public works projects in communities’ histories
Infeasible/non-cost-effective to control large storms
What significance for drinking water intakes?
What role should wet weather instream realities play here?
“Whether” and “Who” invests and what benefits

## Slide 25
Resolving Conflicts with Sister Utilities

## Slide 26: Conflict Resolution
Make sure you maintain good lines of communication
  Understand their needs, concerns and wants along the way
Strive to keep the discourse and issues technical
Losing control to political interests has precluded cost-effective and protective solutions
Need for good science and reasonable risk assessment is paramount

## Slide 27: Conflict Resolution
Historically, these disagreements were resolved between utility managers
  Letters, MOUs, Contracts, Settlements, voluntary permit concessions; facility plan changes
  Even when they did not get along
    “Let them drink champagne….”
Increasing regulatory pressure on water providers and wastewater utilities has caused several tears in the fabric of public utility cooperation

## Slide 28: Conflict Resolution
Make reasonable accommodations
  Enhanced treatment if cost-effective
  Improved reliability
  Flexibility on discharge location and method
  Data collection and analysis to determine risk before deciding on public investments
Timely notice of upsets to downstream utilities
  Don’t require unnecessary reports
ALWAYS be prepared for those who will not let good science get in the way of good politics.