## Slide 1: Blending: A Compromise
Lisa E. Hollander
Northeast Ohio Regional Sewer District
NACWA Developments in Clean Water Law
November 11, 2005

## Slide 2: May & June 2005
Anti-blending EPA FY 2006 budget amendment passes House (5/19/2005)
EPA pulls 11/2003 guidance as proposed; looking at other options (5/19/2005)
5/19/2005 oral argument in DC Circuit on legal challenge to EPA Regions 3, 4, & 6’s anti-blending policies
6/3/2005 Court rules regional actions are not “final”
HR 1126: Save our Waters from Sewage Act (Stupak, D-MI; Kirk, R-IL) gathers over 100 co-sponsors
EPA says “blending is not a long-term solution”
Notes: Budget amendment?

## Slide 4: Spring-Fall 2005
NACWA and NRDC discuss possibility of a “compromise” with EPA
EPA encourages groups to work it out
Early May discussions derailed by Hill activity
Discussions resume in late-May
Summer-Fall 2005: Drafts exchanged in confidential process by small groups
NACWA Board endorses
EPA to initiate review process

## Slide 5: The Preamble
Builds on the 98,000 comments received
Blending can be permitted by permitting authority as an “anticipated bypass” under 40 CFR 122.41
Acknowledges past regulatory confusion
Applies to separate sewer systems only (CSO Policy addresses as “anticipated bypass”)
Recognizes that there will be situations where a POTW has “no feasible alternatives” to the bypass
Site-specific, local determination

## Slide 6: The Preamble (2)
Reliance on peak flow diversions should be minimized
Re-analysis required on permit renewal
Permits authorizing peak wet weather diversions should be timely renewed
Encourages advanced treatment scenarios, promotes additional treatment for diverted flows
Effluent limits, 85% removal (or 40 CFR 133.103(d)), and secondary treatment requirements met at all times
Notes: Permits should not be administratively continued
40 CFR 133.103(d): less concentrated influent wastewater for separate sewers
secondary treatment requirements to be met at all times including during peak wet weather diversion events

## Slide 7: POTW Responsibilities
Perform Utility Analysis at time of new/permit renewal:
  Current treatment capacity/feasibility of increasing and costs
  Current peak flow diversions/alternatives to reduce and costs
  Estimate of future diversions based on population growth, weather patterns, system changes/ upgrades/deterioration
  Existing storage/feasibility of increasing and costs
  Alternatives to reduce peak flow volumes (e.g., limiting collection system extensions, slug loadings)
  Technologies to enhance treatment of peak flow volume and costs

## Slide 8: POTW Responsibilities (2)
  I/I efforts and potential legal authorities to address
  Peak flow reductions possible through C-MOM program
  Proposed monitoring protocol for diversion events (permit parameters, total volume, duration)
  Expected benefits if evaluated measures are put in place
  Ability to fund improvements based on:
    current rates
    planned increases
    costs
    schedules
    anticipated impacts to the community of planned water & wastewater expenditures

## Slide 10: Permitting Authority Responsibilities
Make analysis publicly available with other draft permit info
Review the analysis to determine what efforts can be undertaken by the utility using “full range of economic, environmental, public health, and engineering considerations”
Clearly state in the permit the conditions under which the utility is authorized to divert flow
Describe the peak flow diversion in the permit Fact Sheet

## Slide 11: Permitting Authority Responsibilities (2)
Include provisions for public notification of the diversion (e.g., website)
Include provisions for review and revision (if necessary) of local pretreatment limits to account for peak wet weather diversions (e.g., significant industries that batch discharge)
Ensure impacts on sensitive waters are considered
Review permit renewals to ensure that peak wet weather diversions are still needed

## Slide 12: EPA Responsibilities
Use this guidance in non-delegated states
Review permits in NPDES delegated states for all POTWs seeking authority for diversions pursuant to this guidance to ensure that they are consistent with the guidance
Ensure that appropriate enforcement is taken against POTWs that fail to move forward expeditiously to implement their responsibilities under the guidance
Ensure that monitoring data is available to the public on EPA’s website in a searchable, correctable database

## Slide 14: Blending: A Compromise
Lisa E. Hollander
Northeast Ohio Regional Sewer District
NACWA Developments in Clean Water Law
November 11, 2005