## Slide 1: TMDLs and Stormwater – The Cub Scout Motto
Jerry Linder
Clean Water Services (Hillsboro, Oregon)
Presented at NACWA Legal Conference
Santa Fe, N.M.
November 9, 2005

## Slide 2: Do Your Best
MEP
EPA Guidance Document (November 22, 2002)
  Iterative, adaptive management BMP approach
    highly variable storm events (frequency, duration)
    open system
    minimal useful or predictive data

## Slide 3: Clean Water Services – Tualatin River
Second TMDL Allocation process in 1995-2001
  Numeric limits (all discharge points)
  Numeric limits (representative discharge points)
  Management plans to achieve TMDL allocations
  Management plans to achieve reductions of specified parameters in specific amounts
  Management plans to reduce pollutants to the MEP

## Slide 4: Issues:
Variability/uncertainty
Monitoring
Compliance/Enforcement
Quantification
Reasonable assurance that WLA will be met
Adaptive Management/benchmarks/targets

## Slide 5: Bacteria - Summer WLAs for MS4 Discharges

## Slide 6: Bacteria - Winter WLAs for MS4 Discharges

## Slide 7: Not All Super Models are Skinny
Image downloaded from The Free Dictionary by Farlex on October 24, 2005. http://encyclopedia.thefreedictionary.com/_/viewer.aspx?path=7/7f/&name=Miss_Piggy.jpg

## Slide 8
TMDL Waste Load Allocations ….
gone wild!!

## Slide 10: Advice
Get the Model Right

## Slide 11: Advice
Get credit for background
  (example – bacteria)

## Slide 12: Average Percent by Source

## Slide 13: Advice
Object!

## Slide 14: Advice
Reserve the Right to be Smarter Tomorrow