## Slide 1: Presentation to Considerations in MWRA Long-Range Water Supply Planning
July 20, 2006
Marian A. Orfeo Director, Planning & Coordination

## Slide 2
Confluence of these dynamics:
  MWRA has a need for new sources of revenue as pressure on rates continues
  MWRA has excess capacity because of conservation measures
  MWRA’s service area is surrounded by watersheds (or portions of watersheds) that are highly stressed
What’s In Play?

## Slide 3: MWRA Service Area
MWRA provides wholesale water and wastewater services to over 2.5 million customers in 61 communities
On average, MWRA delivers 220 million gallons per day to its water customers, with a peak demand of 350 million gallons
MWRA collects and treats an average of 350 million gallons of wastewater per day, with a peak capacity of 1.2 billion gallons

## Slide 4: MWRA’s Capital Improvement Program 1986 - 2016
Business and
Operations Support
Wastewater Interception &
Pumping, and Facilities
Improvements
MetroWest Tunnel
Drinking Water
Quality Improvements
Waterworks Distribution &
Pumping
Other Waterworks
Boston Harbor Project
Combined Sewer
Overflows
$0
$100
$200
$300
$400
$500
$600
$700
FY86
FY88
FY90
FY92
FY94
FY96
FY98
FY00
FY02
FY04
FY06
FY08
FY10
FY12
FY14
FY16
Millions
Actual
Projected

## Slide 5: Combined Water & Sewer Rate Growth Comparison Among US Cities: 1985 to 2003

## Slide 6: FY2007 Proposed Budget
FY07 Proposed
FY07
FY08
FY09
FY10
FY11
FY12
FY13
FY14
FY15
FY16
Rate Revenue Requirement
$518.5
$563.5
$612.2
$665.4
$700.2
$730.7
$759.2
$763.2
$770.6
$759.1
Rate Revenue Increase
9.8%
8.7%
8.7%
8.7%
5.2%
4.4%
3.9%
0.5%
1.0%
-1.5%
Estimated Annual Household Charges
FY07
FY08
FY09
FY10
FY11
FY12
FY13
FY14
FY15
FY16
Based on 61,000 gallons (DEP weighted)
$675
$726
$780
$840
$883
$923
$962
$1,012
$1,035
$1,041
Based on 90,000 gallons
$996
$1,071
$1,152
$1,239
$1,303
$1,362
$1,420
$1,446
$1,478
$1,487

## Slide 7: Impact of Debt Service on Annual Revenue Requirement
Debt service as a percentage of total MWRA budget is increasing significantly

## Slide 8: Conservatively, We Have 36 MGD Available
DEP & Standard Practice Safe Yield
WMA Registration
MWRA Practice Safe Yield
MWRA 5-Year Average Demand
Cushion for Partial Communities
Communities With Active Interest
230
240
250
260
270
280
290
300
310
320
330
340
350
12 mgd
50 mgd
220
MWRA Current Demand
Projected Growth to 2030
36 mgd
Water Available to Non-MWRA Communities
with Deficits

## Slide 9: MWRA Current Demand
DEP & Standard Practice Safe Yield
WMA Registration
MWRA Practice Safe Yield
MWRA 5-Year Average Demand
Cushion for Partial Communities
Communities With Active Interest
230
240
250
260
270
280
290
300
310
320
330
340
350
220
MWRA Current Demand
Projected Growth to 2030
Water Available to Non-MWRA Communities
with Deficits

## Slide 10: “Safe Yield”
DEP Safe Yield & Standard Engineering 355 mgd
All Time Highest Usage 1980 342 mgd
WSCAC 1984 318 mgd
WMA Registration 312 mgd
MWRA 300 mgd
Net of 31 million gallons of required releases

## Slide 11: MWRA Current Demand
DEP & Standard Practice Safe Yield
WMA Registration
MWRA Practice Safe Yield
MWRA 5-Year Average Demand
Cushion for Partial Communities
Communities With Active Interest
230
240
250
260
270
280
290
300
310
320
330
340
350
220
MWRA Current Demand
Projected Growth to 2030
Water Available to Non-MWRA Communities
with Deficits

## Slide 12: MWRA Current Demand

## Slide 13: Conservatively, We Have 36 MGD Available
DEP & Standard Practice Safe Yield
WMA Registration
MWRA Practice Safe Yield
MWRA 5-Year Average Demand
Cushion for Partial Communities
Communities With Active Interest
230
240
250
260
270
280
290
300
310
320
330
340
350
12 mgd
50 mgd
220
MWRA Current Demand
Projected Growth to 2030
36 mgd
Water Available to Non-MWRA Communities
with Deficits

## Slide 14: MWRA’ s Estimates of Potential Supplemental Demand
Hingham/Hull
1.3
Sharon
0.2
Total
1.5
Lynnfield Centre Water District
0.5
Salem Beverly
0.7
Ipswich
0.2
Wenham
0.1
Topsfield
0.1
Danvers/Middleton
0.8
Total
3.8
Reading
1.4
Ashland
0.9
Holliston
0.2
Hopkinton
0.8
Medway
0.2
Milford Water Co.
0.3
Franklin
0.7
Total
3.1
Lancaster
0.2
Sterling
0.9
West Boylston
0.5
Boylston
0.1
Total
2.2
Grand Total
10.6 mgd
South Hadley
0.5

## Slide 15: Which Communities are Not Included on MWRA’s Preliminary List
Communities where factors such as distance and isolation from MWRA and other technical difficulties preclude MWRA service.
Communities where there is little water supply distribution infrastructure
Communities where there is the potential for reasonable conservation measures to fully address their future shortfalls or resolve existing river stress concerns

## Slide 16: Other Characteristics of the Potential MWRA Communities
The overwhelming majority is already conserving. Given the location of growth and the nature of water withdrawals, concerns over low flow and river stress may persist, even where conservation is practiced
Communities that join MWRA would be required to maintain conservation and leak detection programs now in place
Communities would benefit from MWRA’s leak detection programs and conservation efforts
Communities might also benefit from MWRA’s technical assistance on infiltration/inflow reduction to also help reduce export of groundwater out of basins

## Slide 17: Conservation Indices

## Slide 18: MWRA Water Service Area and Basins

## Slide 19: MWRA Water Service Area and Stressed Areas

## Slide 20: MWRA Water Service Area and Potential System Expansion

## Slide 21: Environmental Aspects of System Expansion
In the summer, streamflows in Massachusetts’s rivers largely consist of baseflow derived from adjacent aquifers and occasionally, releases from surface water storage
The Ipswich River, Upper Charles River, Boston Harbor Basin, and SUASCO (Sudbury, Assabet, and Concord) River basins are sources of water supply for partially supplied MWRA communities and communities beyond MWRA’s water service area
Most derive their water supply from ground water sources, where there is often little storage. Therefore, withdrawals for water supply in the summer exacerbate already naturally occurring low flows
In contrast, MWRA’s multi-year reservoirs capture spring flows to support summer withdrawals and to dampen year- to year variation in precipitation that might otherwise strain water resources

## Slide 22: Environmental Benefits to Ipswich River

## Slide 23: Environmental Aspects of System Expansion
“By properly coordinating the use of surface and groundwater supplies, optimum regional water resource development seems most likely to be assured.”
Source: Introduction to Hydrology, Warren Weissman
MWRA’s proposition:
  By properly coordinating use of MWRA’s multi-year reservoirs with groundwater withdrawals in stressed rivers (which often support high population densities), more optimum water resource planning can occur

## Slide 24: Quabbin Storage and Required Releases Means the Swift has Water
Orange is below normal and Red is very low. Green is average flow.

## Slide 25: River Releases

## Slide 26: Swift River Flow Contribution

## Slide 28: Boston Globe Editorial - May 20, 2006
“Handled correctly, a modest expansion could achieve both environmental and smart-growth goals.”
“Both wildlife habitat and river recreation will benefit if the Ipswich and other stressed basins in Eastern Massachusetts get some relief.”

## Slide 29: Boston Globe Op-Ed - June 28, 2006

## Slide 30: The Many Hurdles of Joining the System
Prior to application to MWRA and the MWRA Advisory Board, a number of approvals must first be obtained, including:
  Local Community
  MEPA Review
  Water Resources Commission Review under Interbasin Transfer Act
  Legislature
  Governor
  MWRA Advisory Board
  MWRA Board of Directors

## Slide 31: The Many Hurdles of Joining the System
MWRA must find that the safe yield of the watershed system, on the advice of the DCR, is sufficient to meet the projected demand
MWRA must find that no existing or potential source for the community has been abandoned, unless the Department of Environmental Protection has declared that the source is unfit for drinking and cannot be economically restored
MWRA must find that a water management plan has been adopted by the community and approved by the Water Resources Commission
MWRA must find that effective demand management measures have been developed by the community, including the establishment of lead detection and other appropriate system rehabilitation programs
MWRA must find that a local source feasible for development has not been identified by either the community or DEP
MWRA must find that a water use survey has been completed which identifies all users within the community that consume in excess of twenty million gallons per year
MWRA must find that any expansion of the MWRA water service system shall strive for:
  no negative impact on the interests of the current user communities; no negative impacts on water quality;
  no negative impact on the hydraulic performance of the MWRA water system; no negative impact on the environment or on the interests of the watershed communities; and, shall attempt to achieve economic benefit for existing user communities
MWRA must find that the community has met all legal requirements for admission
Upon admission, the community will pay fair compensation for past investment in the MWRA waterworks system by existing user communities

## Slide 32: Economic Impacts
Entrance fee revenue = $5.2 million per 1 mgd (up-front payment/one-time impact)
Hypothetically speaking, if 22 new communities joined in FY2007, using a total of 10 mgd
  MWRA annual operating expenses would increase less than $1 million
  50 existing member communities would benefit because “rate base” is larger, water assessments would be lowered by 4.5% for a total savings to communities of $7 million per year

## Slide 33
Confluence of these dynamics:
  MWRA has a need for new sources of revenue as pressure on rates continues
  MWRA has excess capacity because of conservation measures
  MWRA’s service area is surrounded by watersheds (or portions of watersheds) that are highly stressed
It’s a Win - Win - Win