## Slide 1
Wastewater Emergency Response Planning Lessons Learned Since 9-11
Opinions expressed are those of the author and do not necessarily reflect the San Antonio Water System or Bexar County LEPC.
Homer Emery San Antonio Water System (SAWS) Bexar County Local Emergency Planning Committee (LEPC)

## Slide 2
“We can no longer think that it just won’t happen here”

## Slide 3
“New Vulnerability & Security Awareness Throughout the Industry”
But we can’t protect 100% of our assets 100% of the time

## Slide 4
“We have received a lot of help and support in reducing vulnerabilities and improving emergency response planning”
AMSA “Checklist” was one
of the first tools issued
for industry
…..
and formed the basis for
the development
of the Vulnerability Self
Assessment Tool, VSAT™

## Slide 5
AMSA VSAT™ has evolved and now
includes ERP Module for Wastewater and Water Utilities
Over 5500 copies
of VSAT™ distributed
Cost / Risk Module
VA Report
Generator
Emergency
Response Plan preparation & maintenance tool

## Slide 6
VSAT™ Wastewater ERP Module
Based upon the WERF / EPA Wastewater ERP Guidance Document issued in November 2004
Can be used regardless of VA method used
  Linkages to VA analysis file for VSAT™ users
Provides a “model” ERP that is tailored by each utility
Library of commonly needed Emergency Action Procedures (APs)
Automated ERP Report generation and revision
Pilot Testing just completed
  Available in early February 2005

## Slide 7
VSAT™ Wastewater ERP Module Pilot Testing Comments
“Excellent software that is very comprehensive”
“I wish I would have had this tool a year ago. It saved a lot of time by having the document laid our electronically with built in guidance”
“..most valuable part of the module is the outline that follows the WERF (EPA) guidance. It provides a very good pattern to use…”
“GREAT WAY TO CREATE DETAILED, USEABLE, AND CONSISTENT PLANS, ESP. FOR THE "UNINITIATED". SAVES A LOT OF FORMATTING AND "REINVENTING THE WHEEL" TIME”

## Slide 8
Emergency Repairs -Fire – Natural Disasters – Chemical Spills RMP -Terrorist - Water Quality – Security -Evacuations – Shelter in Place Department / Division Contingency Plans Training Simulations / Exercises /
EMOP Umbrella Planning Concept
Sewer Spills
Chlorine
Water
Fire / Bomb
The VSAT ERP module can be used to manage all your emergency related plans.
Need to improve response process and ICS can help

## Slide 9
Additional Resources for Emergency Response Planning
WERF / EPA Wastewater ERP Guidance Document November 2004
EPA Wastewater Threat Guidance
WEF / AWWA & ASCE Interim Guidance Documents
  Online contaminant monitoring
  Voluntary Security Guidance for Water Utilities
  Voluntary Security Guidance for Wastewater Utilities
The Emergency Response “Toolbox”

## Slide 11
Major Emergency
“We need to know how we fit into local, state & federal plans”
-
Local Waste Water Utility
Mayor City EOC
Governor State SERC
President Federal
Federal agencies and Department of Defense Resources
State Agencies and State National Guard

## Slide 12
“We plan in a perfect world, but must respond to actual situations in the real world.”

## Slide 13
“We must plan for the worst-case”

## Slide 14
Having an emergency response plan is a must – but having friends on the response team is better.

## Slide 15
Don’t ignore those blinking red lights – it may not be just another false alarm.

## Slide 16
Walnut Creek, CA. Pipeline Explosion 2004
Bellingham, WA. Pipeline Explosion - 1999
“The terrorist threat may be our worst, but not our biggest threat”

## Slide 17
Our biggest threat may be Eric or Dylan in the high school next door

## Slide 18
VSAT™ and other tools are great – and can be tailored to meet specific state and local situations”
and
the different EPA tools are useful
But…………………..…

## Slide 19
It still takes a lot of hard work and top management support and decisions, to have and maintain an effective and sustainable emergency response capability.

## Slide 20
Questions ??
Homer Emery San Antonio Water System (SAWS) Bexar County Local Emergency Planning Committee (LEPC) (210) 704-7284
Hemery@saws.org