## Slide 1
S A N I T A T I O N D I S T R I C T S O F L O S A N G E L E S C O U N T Y
Water Recycling in California Martha Rincon AMSA 2005 Winter Conference February 4, 2005

## Slide 2: Overview
Background on Quantity/Types of Uses
Regulatory Framework
LACSD Experience
Recycling Research
Notes: <number>
<footer>
<header>
<date/time>

## Slide 3: Current Reuse Picture
2002 Survey: Approx. 545,000 AFY
Legislative goal: 1.0 MAFY by 2010
Potential goal: 1.5 MAFY by 2030
Current uses include:
  Agricultural/landscape irrigation
  Industrial uses
  Groundwater recharge
  Seawater barriers
  Recreational impoundment
  Wildlife habitat or misc.
  Geysers/ energy production
  Toilet flushing

## Slide 5: Regulatory Framework
Recycling criteria established by CA Department of Health Services (DHS) http://www.dhs.ca.gov/ps/ddwem/publications/waterrecycling/index.htm
  Allowable uses for primary, secondary and tertiary treated water
  Requirements tied to uses so that they become more restrictive given the potential for public exposure
Regional Water Boards issue permits to producer or reuse site in consultation with DHS

## Slide 8: LACSD Recycled Water Uses
Landscape Irrigation
Agricultural Irrigation
Industrial Uses
  Carpet dyeing
  Cooling water
  Paper manufacturing
  Construction applications
Environmental enhancement of wildlife habitat
Groundwater Recharge

## Slide 9: Reclaimed Water Usage – 2004

## Slide 10: Efforts to Effectively Maintain Program
High quality wastewater to WRPs
  Most industrial flow diverted for treatment to ocean discharge plant
Aggressive WRP pretreatment program
Cooperatively work with water retailers and users
  Flexible contracting process/pricing policy
Continual research on emerging concerns related to groundwater recharge, pathogens, health effects, disinfection byproducts, EDCs, PHACs

## Slide 11: Montebello Forebay Project
Reuse: 50,000 acre-ft (3 year average)/ 60,000 acre-ft (yearly max)
Treatment prior to recharge: Primary and secondary treatment, multi-media filtration and chlorination.
  Soil Aquifer Treatment (SAT) provides additional organics removal during infiltration
Central Basin supplies 40% of the demand for population of 3 million
After 40 years of operation, there have been no water quality issues of health concern
Notes: <number>
<footer>
<header>
<date/time>

## Slide 12: Health Effects Studies 1978-99
1984 Health Effects Study
  No measurable adverse effects on either the area’s groundwater or the health of the people ingesting the water
  Risks, if any, were small and probably not dissimilar from commonly used surface waters
  Suggested that a closely monitored expansion could be implemented
1996 & 1999 Rand Epidemiology Studies
  For an exposed population of 1 million, after almost 30 years of groundwater recharge, no association exists between recycled water and higher rates of mortality, cancer incidence, infectious disease, or adverse birth outcomes

## Slide 13: Pathogen Research
Virus monitoring (1,169 samples over 30 years)
Cryptosporidium
  EPA’s ICR Method used for 6 years with no oocyts detected
  EPA Method 1623, Oocysts are present in final effluent in low numbers, typically <5 oocysts/20 liters but are dead
Giardia
  99.8% removal thru treatment train
  97% of the isolated cysts were non-viable, based on morphological and vital-stain analyses
  Animal tests suggests that very few, if any, cysts leaving the treatment plant are capable of causing disease

## Slide 14: SAT Study
Sustainability of SAT
Role or need for above-ground treatment
Define removal processes
Develop monitoring criteria
Regulatory framework for evaluation
Increase public knowledge & awareness

## Slide 15: Public Outreach
Public needs to be brought along step-by-step through processes
  Use public friendly terms
  Address Optimists/ Pessimists
Address regional differences
Develop positive images to describe the project
  Descriptive, accessible and responsive
  Should be used before negative messages are
  disseminated (i.e. Toilet to Tap)
Process referred to as WaterSMART
  (Supplies Maintained And Ready Tomorrow)