## Slide 1: A Rational Approach to Drinking Water Source Protection
AMSA
Developments in Clean Water Law Seminar
November 10, 2004
Elaine Archibald
Consultant to California Urban Water Agencies

## Slide 2: Presentation Overview
Why is source water protection important?
A long-term solution – drinking water policy for the Central Valley
Short-term measures – collaboration between waste dischargers and drinking water providers

## Slide 3: Multiple Barrier Principle
Source Protection
Treatment Effectiveness
Distribution
Integrity

## Slide 6: Regulatory Context
Clean Water Act and Porter-Cologne
Safe Drinking Water Act
Water Quality Control Plan for the Sacramento and San Joaquin River Basins (Basin Plan)
Bay-Delta Basin Plan

## Slide 7: Basin Plan
Identifies beneficial uses (MUN)
Includes water quality objectives to protect beneficial uses
  Numeric objectives (MCLs)
  Narrative objectives
    e.g. All waters shall be maintained free of toxic substances in concentrations that produce detrimental physiological responses in humans….

## Slide 8: Drinking Water is not Adequately Protected
There are no Basin Plan objectives for key drinking water constituents (organic carbon, bromide, nutrients, pathogens)
No effluent limitations
No monitoring
No ability to designate water body as impaired

## Slide 9: Stresses on Source Water Quality are Increasing
  Less freshwater inflow to Delta
  More urban runoff and wastewater flowing to Delta
  More competition for water in drought years
State will have 60 million residents by 2040 – large portion in Central Valley

## Slide 10: Stresses on Source Water Quality are Increasing
More stringent and at times conflicting regulations; treatment is increasingly based on source water quality
Increasing number of contaminants regulated
Public expectations are
increasing

## Slide 11: Central Valley Drinking Water Policy
Development of a policy, basin plan objectives, or narrative standards that provide protection for drinking water supplies in the Central Valley

## Slide 12: Central Valley Drinking Water Policy Workgroup
Includes various stakeholders
  Large and small wastewater dischargers
  Storm water dischargers,
  Agricultural representatives
  Public interest groups
  State and federal agencies
Regional Board Resolution
  Broad support for policy development

## Slide 13: Technical Studies
Key Tasks
  Data Assessment
  Water quality monitoring & database development
  Conceptual models for drinking water constituents

## Slide 14: Drinking Water Constituents
A number of constituents are being considered
  DBP precursors (e.g. organic carbon)
  Pathogens and surrogates (e.g. coliforms)
  Nutrients
  Dissolved minerals (e.g. TDS)
  Pesticides
List will be narrowed based on data

## Slide 15: Technical Studies, cont.
Key tasks
  Pollutant load evaluations
  Identification of controllable sources
  Range of water quality goals
  Potential cost effective control alternatives

## Slide 16: Basin Plan Amendment Process
Water quality objectives (narrative or numeric)
Implementation plan

## Slide 17
Basin Plan
Amendment
Public Process
Initiate
Technical
Work
Water
Quality
Monitoring
Schedule
2005
2007
2009
2003
Regional Board
Resolution
Complete
Technical Studies
RWQCB Adopts Basin Plan Amendment
Notes: <number>
<footer>
<header>
<date/time>

## Slide 18: Short-term Measures
Joint effort between drinking water purveyors and waste dischargers to identify projects to improve water quality
  Concept of pollutant trading
  Who pays?

## Slide 19: Potential Projects
Rerouting of agricultural drainage away from drinking water intakes (organic carbon, nutrients)
Discharge of highly saline industrial wastes to evaporation ponds rather than the river (TDS)

## Slide 20: Short-term Measures
Drinking water providers can “weigh-in” when Regional Board proposes onerous effluent limitations
  Work with dischargers to convince regulators that THMs in discharges are not an issue
  In exchange, dischargers agree to monitor for constituents of concern to water providers (organic carbon, TDS, possibly pathogens)

## Slide 21: Conclusion
We need collaboration rather than legal challenges.
The development of the Central Valley Drinking Water Policy will be a key step forward.

## Slide 22: Let’s Work Together on Source Water Protection