## Slide 1
New Local Limits Guidance Manual
John Lovell
Pretreatment Coordinator
US EPA Region III
October 27, 2004

## Slide 2: Background and Status
Early 1998 - EPA workgroup convened
Fall 1999 - draft manual developed
August 2001 - Workgroup released final draft for public comment
2002 - Workgroup evaluated & addressed 400 comments from 23 stakeholders
September 2003 - revised draft completed
February 2004 - authority to publish
July 2004 - published

## Slide 3: Conceptual Framework
Update reference data and methodologies
Remove unneeded sections of the 1987 Manual
Clarify issues through integration of Regional guidance
Improve presentation via user-friendly charts, tables, and Q & A sections

## Slide 4: Chapters Removed and Added
Portions of the 1987 Manual Not Included in the New Manual
  Chapter 5 - Industrial User Management Practices
  Chapter 6 - Case by Case Permits - Best Professional Judgment
  Section 2.6 – Toxicity Testing
Additional Chapters in the New Manual
  Chapter 7 - Local Limits Reviews and Detailed Re-Evaluations
  Chapter 9 – Questions and Answers

## Slide 5: Improvement Graphics Explain Local Limits Development Process

## Slide 6: Improvement Graphics Explain Regulatory Requirements

## Slide 7: Improvement Shadow Boxes Accentuate Major Points

## Slide 8: Improvement Shadow Boxes Highlight Equations

## Slide 9: Improvement Tables Summarize Key Information

## Slide 10: “Up Front” Information
Acronyms & Glossary of Terms
Introduction (Chapter 1)
  Purpose, Statutory Authority, Process & Pretreatment Standards
  Organization of Guidance Manual
Overview of LL Development (Chapter 2)
  Decision Tree
  Outline of 4 Step MAHL Approach
  Environmental Requirements (including groundwater and watershed protection criteria)
  Measures to protect the plant, collection system, and workers
  Pollutants in influent and effluent
  Hauled wastewater
  Pollutants causing operational problems in the past

## Slide 11: Chapter 3 Pollutants of Concern
Introduces 5 new presumed POCs - BOD, TSS, Se, Mo, NH3 [“conditional”]
Identifies how to determine other POCs
  Environmental Requirements (including groundwater and watershed protection criteria)
  Measures to protect the plant, collection system, and workers
  Pollutants in influent and effluent
  Hauled wastewater
  Pollutants causing operational problems in the past

## Slide 12: Chapter 4 Monitoring
Sampling locations at the POTW and in the collection system
Sampling frequencies and locations for on-going evaluation and initial program development
Advice on flow-proportioned, time-composite, and grab sampling techniques
Review of analytical methods, information maintenance, review, and evaluation
Recommended types of flow data

## Slide 13: Chapter 5 MAHL Calculation
Explains removal efficiency calculation
Explains determination of AHLs based on effluent and sludge criteria
Provides additional guidance
  ½ ML (not ½ MDL) suggested as surrogate for ND samples
  Less emphasis placed on inhibition-based AHLs
  Air quality-based AHLs not emphasized
  BOD/TSS AHLS should use plant’s average design capacity
  Oil and grease case studies presented

## Slide 14: Chapter 6 Implementation
Sets criteria for determining if a LL is needed
Explains how to calculate the MAIL from the MAHL
Clarifies pros and cons of different LL control mechanisms and allocation methods
Describes common sense assessment of LLs
Reviews best management practices
Explains the Approval Authority’s local limits approval process

## Slide 15: Chapter 7 Reviewing and Re-evaluating Local Limits
Recommends annual reviews of LLs
  Compare MAHLs to current headworks loadings
  Review compliance history
Discusses when a detailed LL re-evaluation is needed
  Assess current conditions
  Collect and analyze data
  Recalculate or determine new local limits
  Implement new local limits

## Slide 16: Chapter 8 Collection System Concerns
Fires & Explosion Hazards
Corrosion
Flow Obstructions
Temperature
Toxic Gases,Vapors and Fumes

## Slide 17: Chapter 9 Questions and Answers
Contains questions grouped according to topic
Provides legally based or research-confirmed answers
Interprets and resolves some gray areas of local limit development
Helps the reader to understand the motivation behind certain requirements

## Slide 18: Distribution
Guidance Published – July 2004
Distribute Paper and/or CD-ROM Versions to All Approval Authorities
Guidance & Appendices on EPA Website* in AdobeTM PDF Format
* WWW.EPA.GOV/OWM

## Slide 19: And Finally…
Always remember that “Guidance” is exactly that - recommendations that may be implemented differently in various Regions and States.