## Slide 1: Reducing Mercury Discharges
Elizabeth R. Toot-Levy
Northeast Ohio Regional Sewer District
Best Management Practices for Hospitals

## Slide 2: Initial Steps
How did we get here?
Dental Program fully initiated
Hospitals next focus
14 major facilities
The Big Three

## Slide 3: Hospital Administrative Orders
Part One – Process/Operational Description
Part Two – BMPs
Part Three – Monitoring Requirements
Part Four – Reporting Requirements
Part Five – Violation Charges
Part Six – Special Conditions

## Slide 4: Part One – Process/Operational Description
Discharge is regulated by the NEORSD Code of Regulations.
Compliance with limitations required under 40 CFR 403 – General Pretreatment Regulations for Existing and New Sources of Pollution.
Discharge point(s)

## Slide 5: Part Two - BMPs
Team for developing the BMP plan
Inventory of potential mercury sources
Current and Past BMPs for mercury
Identification of New BMPs
Schedule
Methods to measure progress

## Slide 6: Mandatory BMPs
Mercury Inventory
Proper Disposal
Mercury Spill Program
Education Program
Dental Clinics
Policy Commitment
Elimination
Proper Storage
Thermometers
Sphygmomanometers
Gastrointestinal tubes
Pharmaceutical and/or Laboratory Supplies

## Slide 7: Mercury Inventory
Potential Sources in Hospital
Audits to evaluate progress
Track this progress

## Slide 8: Proper Disposal
YES
  Recycling
  Hazardous Waste Disposal
NO
  Medical Red Bag
  Sharps Containers

## Slide 9: Mercury Spill Program
Spill Kits
Training on use of Kits
Documentation of Spills or Breakages

## Slide 10: Education Program
Educate Staff
  Proper USE
  Proper DISPOSAL
Outside Contractors
New Personnel

## Slide 11: Dental Clinics
All hospital dental clinics must be in compliance with the NEORSD dental program.

## Slide 12: Policy Commitment
Hospital Policies supporting the use of BMPs
Facility wide commitment

## Slide 13: Elimination or Proper Storage
Eliminate wherever possible
Phase in alternatives
  Acceptable
  Economically feasible
Proper Storage
  Non-breakable containers
  Airtight lids
  Clearly labeled

## Slide 14: Thermometers, Sphygmomanometers and Gastrointestinal Tubes
Replace where appropriate and feasible
Recycling/Disposal

## Slide 15: Pharmaceutical and/or Laboratory Supplies
Ensure proper disposal of any mercury-containing pharmaceutical or laboratory supplies

## Slide 16: Recommended BMPs
Purchasing Policies
Switches
Plumbing
Laboratories
Thimerosal-free
Eye pressure reducers
B-5 fixative
Labeling
OEPA – “Mercury Challenge’
Thermometers
New parents
Batteries
Lamps
Barometers
Waste Separation and Recycling
Disposal Protocols

## Slide 17: Part Three – Monitoring Requirements
Once per month for initial six months
  Grab sample
    EPA analytical Method 245
    Non-detect
      EPA analytical Method 1631
Initial monitoring to develop long-term plan

## Slide 18: Part Four – Reporting Requirements
Annual Reports
  Monitoring Results
  Updated Inventory
  Summary of Effectiveness
  Updates to BMP plan
  Correspondence indicating compliance

## Slide 19: Part Five – Violation Charges
Failure to comply
  Administrative Order
  NEORSD Code of Regulations

## Slide 20: Part Six – Special Conditions
Reopener Clause
  Modifications to NEORSD Code of Regulations
Compliance Schedule
  30 days to negotiate modifications to AO
  90 days to draft BMP plan
  120 days to final BMP plan and start of initial sampling
    180 days of initial sampling
    30 days Sampling Plan due to NEORSD

## Slide 21: Where we stand today
Have received draft BMP plans from 14 hospitals
Have received final BMP plans from 5 hospitals
Varying Results