## Slide 1: Prioritized Applications of GIS for a Complex Collection System
July 23, 2004 AMSA – Denver
City of
Littleton
City of
Englewood
Mark Van Nostrand – Littleton/Englewood WWTP Stan Plante & John Rehring – CDM
Notes: Many wastewater utilities are considering the use of technological tools to advance their monitoring and operation of collection system infrastructure in light of increasing environmental awareness and regulation. The Littleton/Englewood WWTP, serving much of the southern metro Denver area, receives wastewater from over 20 districts through a complex collection system network. By deliberately assessing the potential applications and relative priorities for a collection system geographic information system (GIS), the L/E WWTP identified a number of possible uses GIS for both plant operations (e.g., pretreatment and spill tracking) and wastewater districts served by the plant (e.g., infrastructure maintenance or demonstration of sewer capacity for SSO regulatory compliance). The presentation will include a demonstration of key features of a pilot collection system GIS now being conducted by the plant to assess and prioritize GIS applications for possible phased implementation.

## Slide 2: Presentation Overview
L/E WWTP Background and Vision
Drivers for Conducting GIS Needs Assessment
GIS Life Cycle and Potential Pitfalls
Brief Demonstration of L/E WWTP Pilot Collection System GIS
Panel Discussion

## Slide 3: Littleton/ Englewood WWTP: Background
Serves South metro Denver area
250,000 residents in service area
1 of 2 major regional wastewater treatment facilities
Notes: Serves about 250,000 residents - South Metro Denver area
Two Cities plus 18 connector districts all part of plant’s single collection system

## Slide 4: Littleton/Englewood WWTP: Collection System
Over 20 entities responsible for collection system O&M and expansion
WWTP and pretreatment are the only common elements
Infiltration/inflow study conducted to assess effects on WWTP
Initial preparations for SSO regs underway
Notes: Serves about 250,000 residents - South Metro Denver area
Two Cities plus 18 connector districts all part of plant’s single collection system

## Slide 5: L/E WWTP Vision
Proactive regulatory compliance
Use the right tools for the right job
Focal point for cooperation and collaboration between districts in the WWTP service area
Common element: collection system

## Slide 6: Drivers for a L/E WWTP Collection System GIS Needs Assessment
Offshoot of Infiltration/Inflow evaluation
Regulatory drivers: Sanitary Sewer Overflow Regs and Capacity Management (CMOM) requirements
Likelihood of single collection system permittee (WWTP) vs. 20 individual permits
Benefits & applications anticipated for both plant staff and connector districts:
  Pretreatment spill / constituent tracing
  Engineering and maintenance
  System modeling and capacity evaluation

## Slide 7: GIS Needs Assessment Goals
Investigate feasibility of a collection system-wide GIS for the plant and other stakeholders
Determine level of engagement in GIS at the cities and within the connector districts
Evaluate options, costs, and time frames for implementing a GIS
Develop and host a pilot project that demonstrates some of the potential benefits and applications of GIS technology to the plant, the cities and the connector districts

## Slide 8
Acquire
Funds
GIS
Steering
Committee
Generate
Interest
Needs
Assessment
Data
Conversion
Database
Design
Acquire
HW/SW
Planning
Design/Const.
Applications
Development
The GIS Life Cycle
You are here
Notes: <number>
<footer>
<header>
<date/time>

## Slide 9: Reasons Some GIS Projects Fail
Implement too much at once
"Bleeding edge" technology
Poor data maintenance planning
Excessive costs with no visible results
No GIS management organization is built – expected that existing staff will operate
The GIS becomes simply a map-making tool, nothing more

## Slide 10
Ensure that business needs drive system implementation
Recognize organizational requirements for success
  IT Departments should maintain GIS infrastructure
  Operational Departments should maintain GIS data
Set realistic expectations and reinforce them
  Find low-cost, high impact applications
  Avoid “single-user” applications in early stages
GIS Success Factors

## Slide 11
Several Factors Guide Prioritization of Applications
Ease of implementation
Depth and breadth of user need
Development cost and anticipated benefits
Notes: Lessons Learned:
Treat GIS as a tool, not a panacea
Identify common application needs and make them a priority
Keep simple applications simple
Avoid single-user applications that serve very specific purposes
Train the power users to develop their own tools

## Slide 12: A Matrix Approach Helps Set Application Priorities
“Need to have” vs. “Nice to have”
Best bang for the buck
Prioritized and phased implementation
 | User 1 | User 2 | User 3
App. 1 |  |  | 
App. 2 |  |  | 
App. 3 |  |  | 
 Primary user
 Secondary user
 Future user

## Slide 13
Applications Should be Evaluated on Cost/Benefit
Cost side is “easy”
Benefits can be difficult to quantify
  Direct, measurable time savings
  Capture and preserve institutional knowledge
  Mitigate or manage potential risk
  New capabilities and services
  Better service to member municipalities / districts
Evaluated full in-house GIS development vs. in-house with consultant support
Notes: Lessons Learned:
Treat GIS as a tool, not a panacea
Identify common application needs and make them a priority
Keep simple applications simple
Avoid single-user applications that serve very specific purposes
Train the power users to develop their own tools

## Slide 14: Conceptual Design will Pave Road to GIS Success
Leverage existing hardware and data
Don’t try to build everything at once
Design hardware/software/network to support existing and future applications

## Slide 15
Implementation Plan Builds on Priority Applications
Deliver measurable results early
Define appropriate detail for selected applications versus system-wide GIS
Revisit and update the plan annually
Consider impacts on organization and processes

## Slide 16: L/E WWTP Collection System GIS Pilot
Multiple sources of basemap information and data – 3 counties, regional planning entity, cities and utilities
City of Cherry Hills as basis for pilot
Web-based for ease and breadth of access
Demonstration of functionalities