## Slide 1: Pretreatment Information Management
Technology as a Tool
Scott Broski
Supervisor of Enforcement
Northeast Ohio Regional Sewer District
Water Quality & Industrial Surveillance

## Slide 2: NEORSD Pretreatment Program Overview
Industrial Users
  1045 Industrial Users (IUs)
  145 Categorical Significant Industrial Users (SIUs)
  45 Non-categorical SIUs
  143 IUs that pay a surcharge
Sample Points
  720 defined sample points

## Slide 3: Information Management Systems
Pretreatment Information Management System (PIMS)
  Integration with Laboratory Information Management System (LIMS)
  Integration with a Geographic Information System (GIS), District Infrastructure Information Management System (DIIMS)
Plant Automation Information Management System
  Pretreatment component (IU monitoring)

## Slide 4: Pretreatment Information Management System
LABLynx-a fully integrated LIMS and PIMS
  Internet browser based application
  Application server (includes Oracle database)
  Web server
  Networked for access from any PC with an internet connection (including wireless)

## Slide 5: PIMS - Major Components
Industrial User Inventory
  Three tier structure (Client, Client Location and Sample Points)
Limit Checking (Federal, State and Local)
  In house lab generated data and imported data (outsourced analysis and/or self-monitoring data)
Permitting
Surcharge Rate Calculations
Inspection/Document Tracking
Reporting

## Slide 6: Industrial User Inventory
List of all IUs
IUs can be archived if they go out of business or move
  Allows a history for an address to be maintained

## Slide 7: Location Information
Basic location specific information
Not all fields are used
  Unused tags can be changed/ customized

## Slide 8: Location Information
Contacts
  Name, address, phone (office & cell), fax, e-mail, emergency numbers
Equipment Inventory
  Process & treatment
Accounts
Operations Data
  Shifts, hours, employees, days
Applicable SIC & NAICS Codes

## Slide 9: Location Information
Communication Log
  Letter, fax, phone call, e-mail, voice mail, text message
Flow Tracking
Waste manifest information
  Hazardous and non-hazardous
Chemical Inventory/Storage
Pictures and Documents
Permits

## Slide 10: Sample Point Information
List of all defined sample points
Sample point information screen

## Slide 11: Sample Point Information
General Information
Sample Point Flows
  Important for mass based limits
Limits that apply to the sample point
Schedule
  Samples can be pre-scheduled to be auto-logged into the LIMS system

## Slide 12: Information Tracking
Inspection Tracking
  Can manually assign system users IUs to inspect or can have system assign inspections of IUs to system users based on defined schedules
  Notifies individual assigned by generating an alert
Document Tracking
  Can manually enter documents received or due to be received from IUs
  Can have system assign documents due to be received from IUs based on defined schedules (Ex. Self-monitoring reports)
  Generates alerts for a predefined list of users indicating that documents are due or past due
    Can generate a violation if documents are past due by a specified number of days
Notes:   Can manually assign system users IUs to inspect or can have system assign inspections of IUs to system users based on defined schedules

## Slide 13: Limit Checking
Limits can be assigned at individual sample points or at the Client Location
Limit Groups (Reference Analyte Groups) can be predefined (ex. 40 CFR 433 pollutants)
  Limit groups can be active/inactive by date or date range (ex. Expiration date)
Local Limits
Notes: RAGs- Typically added at individual sample points but can be added where multiple sample points exist
Local Limits-Always added at the client location and consider all flows (Process, sanitary, non-contact cooling)
Local Limits-Can be defined and assigned to all IUs

## Slide 14
Reference Analyte Group List
Reference Analyte Definition Screen

## Slide 15
Select results to compare
Comparison history

## Slide 16
Compliance
Noncompliance

## Slide 17
Violation Generation
Violation Information

## Slide 18: Permits
Permits are generated as a report from the system
  All applicable IU information populates the report
  Document is saved and uploaded back to the database

## Slide 19: Surcharge
Module developed to calculate surcharge rates based on the NEORSD rate formula
  -Consolidated 16 different spreadsheets into a single report that is capable of handling any combination of variables

## Slide 20: Other Information Management Systems
Industrial User Monitoring System
  Monitoring system similar to a residential home security system
    System notifies Control Authority of an event at the IU
    Examples: high/low pH, discharge valve open/closed, high LEL
  System is being upgraded to deliver data about the event rather than simply an event

## Slide 21: Other Information Management Systems
Industrial User Digit Dialer
  System that automatically calls a dedicated phone line at an IU delivering a message to cease or resume discharging to the sewer system
  System makes calls to IUs based on flow conditions in the combined sewer system or POTW that their facility is tributary to

## Slide 22: Equipment

## Slide 23: Equipment

## Slide 24: Other Information Management Systems
In cases where an IU is required to be on both the monitoring system and the dialer, data compiled can be compared to ensure that the IU complies with the stop discharge order and closes the discharge valve in a timely manner.

## Slide 25: Other Information Management Systems
Geographic Information System (GIS)
  District Infrastructure Information Management System (DIIMS)
    Integrated with the LABLynx PIMS
    Integrated with other enterprise applications

## Slide 26: GIS/PIMS Integration Capabilities
Spatially locate IUs on a service area map
Allows LIMS/PIMS data to be shared throughout the organization through a user friendly interface
Connects IUs to the collection system
  Ability to use network tracing functionality
    All users upstream/downstream of a point
    All users with a particular chemical in their PIMS chemical inventory downstream of a point

## Slide 27: GIS – Service Area

## Slide 28: GIS – Industry Layer

## Slide 29: GIS – Orthophoto Layer

## Slide 30: Questions?
Scott Broski
Supervisor of Enforcement
Northeast Ohio Regional Sewer District
Water Quality & Industrial Surveillance
216-641-6000
Broskis@neorsd.org