## Slide 1: INNOVATIVE ENFORCEMENT ALTERNATIVES
Martie Groome
City of Greensboro, NC
Notes: My name is Martie Groome. I supervise the City of Greensboro Laboratory and Industrial Waste Section. I am also the compliance officer for Greensboro’s two NPDES permits. Greensboro is a city of about 220,000 located in the center of North Carolina. We have two POTWs with a combined design capacity of 56 MGD and we currently have 36 SIUs. I have been with the City of Greensboro for almost 30 years and have supervised the Industrial Waste Program for 27 years.
When you have been in one place dealing with the same folks for that many years you are bound to need some “innovative” or “creative” enforcement tools along the way.

## Slide 2: Administrative Enforcement Actions
Required PT Training Conducted by SIU Signatory Official for all Employees
Required Attendance By SIU Officials at Training Seminars
  NC Pretreatment Consortium Industrial User Training Workshops
Required Attendance at Seminar/ Lecture/CTJM by Greensboro Industrial Waste Section!
CTJM
HERE
Notes: We have required some training as part of enforcement actions, just as I’m sure many of you have done. These actions are usually required when non-compliance is a result of employees not being aware of the permit and/or SUO conditions, particularly in relation to spill control or process change notification. The training would include signature documentation of all employees that attended each session.
In the past in Greensboro this “enforcement” training has included:
-Having the signatory official of the SIU conduct the training for all employees. The Greensboro Industrial Waste Section would review and approve the training materials prior to the date of the training session. I have even attended some of these sessions. Since the signatory official is often an officer in the company, this ensures that THEY are knowledgeable of the regulations and requirements and by having the signatory official conduct the session, the other employees realize the importance of compliance with the requirements.
We have a North Carolina Pretreatment Coordinators organization and this not for profit corporation has held training sessions on various topics. Greensboro has required several SIUs to attend these sessions as part of an enforcement action.
And then last but not least is a mandatory training session for all employees that was taught by me…This type of enforcement meeting is often affectionately known by my SIUs as a CTJM…..“come to Jesus meeting”.

## Slide 3: Innovative Civil Penalties
Percentage of Civil Penalties Held in Abeyance and Returned IF:
  Used for Additional PT/PP Processes/Equipment
  Used for Installation of Permanent Sampling and Monitoring Equipment
  AND Activities completed within required time frame

## Slide 4: ENFORCEMENT CONSENT AGREEMENT
Agreement Between POTW and SIU Concerning Enforcement Actions for SIU Permit/SUO Violations
Purpose:
  Both parties agree to “keep the lawyers out” of the enforcement process
    Economical and amicable settlement
  Timely/Streamlined enforcement actions
  Public Document that includes all aspects of the situation, both bad and good

## Slide 5: ENFORCEMENT CONSENT AGREEMENT
This is NOT an AO
Strictly an enforcement tool implemented after the fact, not to bring SIU back into compliance
Special circumstances involved
  Not for run-of-the-mill violations
Some negotiation between POTW/SIU
  What statements will be included in document

## Slide 6: ENFORCEMENT CONSENT AGREEMENT CONTENTS
Stipulated Facts
Stipulated Violations
Special Circumstances
Civil Penalties
  Calculation of Maximum Potential $$$
  Calculation of Actual Civil Penalty Issued
Directive to Pay Civil Penalty
Final Settlement of Issue

## Slide 7: ENFORCEMENT CONSENT AGREEMENT
Keeps a “technical” issue out of the “legal” realm [abyss!]
Promotes future relationship with SIU
Requires good relationship (trust) prior to incident
  PT Program continuity important
Documents “BPJ” enforcement decisions

## Slide 8: ENFORCEMENT CONSENT AGREEMENT
“The agreements, statements, stipulations, findings and actions taken herein are made for the purpose of settling this enforcement matter economically and amicably and they shall not be used for any other purpose, except for any proceedings to enforce the provisions of this enforcement consent agreement….”

## Slide 9: ECA CASE STUDY
  Friday, March 27, 1992 [it had to be a Friday, of course!]
  POTW Influent pH = 13.0
  PT staff traced problem through collection system trunkline monitoring
  Traced to chemical blending company
    Inventory engineer near collapse!
    “But the tank was full at 5:00 last night…”

## Slide 10: ECA CASE STUDY
Verbal Cease and Desist Order Issued
  Shut Down until cause identified (3 days)
20,000 gallons of 50% NaOH to sewer
  Murphy’s Law at its finest…
  pH meter malfunction for previous 2-3 wks
  “Assumptions” by operations staff
  NaOH into POTW via air scrubber towers
    Tank/valve did not fail
    Control system failure
Notes: Caustic fed large air scrubber system for chemical blending operation.
Effluent pH meter had been malfunctioning for last 3 weeks. pH meter would peg out at 13 or 14.

## Slide 11: ECA CASE STUDY
Company President sent SIU technical staff to POTW to work for 3-4 days!
  Effluent titrations every 15 minutes X 3 days for neutralization operation
    Tankers of H2SO4 from another IU
Total kill of biomass
  Fish kill for 3 miles downstream…due to low D.O. NOT pH…
Investigated polymer addition for loss of biosolids to effluent

## Slide 12: WHAT HAPPENED AT POTW?
Only 1 pH violation for that Friday
  ~24 Hour Retention Time at POTW
  3 MG EQ Tank used to divert part of slug
  Neutralization of rest of POTW effluent
No other violations
  As soon as “slug” passed through POTW, we began “reseeding” from waste activated sludge pipeline connected to other Greensboro POTW
  Met Monthly and weekly average limits for BOD, TSS and ammonia nitrogen!!!
Notes: One pH of 9.6 that Friday
BOD 84.5/39.6/11.30/4.72/3.07 = 28.64 mg/l [WA limit = 33.0] MA = 10.95 [MA limit = 22.0]
TSS 98.0/47.6/18.7/9.40/8.60 WA=36.46 [WA limit = 45.0] MA = 15.03 [MA limit = 30.0]
NH3N 15.4/6.68/6.99/1.31/0.14 MA=1.34 [MA limit=6.0]
Fecal 91,800 that Friday

## Slide 13: WHY AN ENFORCEMENT CONSENT AGREEMENT?
Certain Facts Not Usually Included in an NOV Needed to be Documented
  Ultimate in cooperation by SIU
  SIU Shut Down cost SIU ~$400,000
  Murphy’s Law
  NOVs/$21,514 Civil Penalty in document
    BPJ Decision by PT Staff
State did NOT issue civil penalty to COG
  Fish replacement costs only [paid by SIU]

## Slide 14: ENFORCEMENT CONSENT AGREEMENT
Have used it 3 other times
  Only for large Civil Penalties
  Amicable, quick technical settlement
    No lawyers!
Tried to use it another time but SIU corporate headquarters lawyers insisted on being involved, so I rescinded offer….
  Company later regretted decision

## Slide 15: EVEN IN ENFORCEMENT….
Remember: “The Toes”
Notes: Even during an enforcement action for a serious violation, we must keep in mind that after the dust settles we still have to maintain a good working relationship with that industry and that environmental contact.
I have a sign in my office that I try to live by…..TAKE CARE: The toes that you step on today may be connected to the fanny you have to kiss tomorrow…..A city in NC hired an engineer from one of their SIUs to be the Water Resources Director.
I know of a large industry in another state who is located in a rather large city… and let’s just say there was some friction between the POTW and the SIU environmental contact….
Lo and behold, the industry created an Environmental Manager position and guess who got the job….YEP the powers that be hired the City PT coordinator .….
Moral of the story: Be nice to your professional PT Coordinator….Your company or city may hire them and make them your boss!!!!!
Please don’t misunderstand me. It can’t always be Southern Hospitality day in Pretreatment Land. My favorite movie line is from the film “Roadhouse” with Patrick Swayze….”Be nice….Be nice..until it’s time to not be nice..” Y’all are good PT Coordinators. You’ll know when the time’s come…]
Be fair…Don’t make it a personal vendetta…Be professional…and when the circumstances call for it… be innovative!