## Slide 1: LTCP Development Issues: The “Presumption” Approach
David W. Burchmore
Squire, Sanders & Dempsey L.L.P.
Prepared for the 2006
Wet Weather Partnership/NACWA CSO Workshop
Chicago (June 1-2, 2006)

## Slide 2: 1994 CSO Policy
“Four key principles of the Policy ensure that CSO controls are cost-effective and meet the objectives of the CWA. The key principles are:
  1. Providing clear levels of control that would be presumed to meet appropriate health and environmental objectives . . . .”

## Slide 3: 1994 CSO Policy
“Presumption” Approach
“A program that meets any of the criteria listed below would be presumed to provide an adequate level of control to meet the water-quality based requirements of the CWA, providing the permitting authority determines that such presumption is reasonable in light of the data and analysis conducted in the characterization, monitoring and modeling of the system and the consideration of sensitive areas above.”

## Slide 4: 1994 CSO Policy
“Presumption” Approach (cont.)
“These criteria are provided because data and modeling of wet weather events often do not give a clear picture of the level of CSO controls necessary to protect WQS.”

## Slide 5: The First Casualty: 85% Capture
Some states have concluded that the “85% capture” criterion is not equivalent to the “4 overflows per year” criterion, and should not be used
CSO Policy suggests consideration of controls that achieve 100%, 90%, 85%, 80% and 75% capture for treatment
Recent Ohio permits dictate consideration of 90%, 95%, 99% and 100% capture

## Slide 6: Four Overflows Per Year?
Use of the “4 overflows per year” criterion still requires a demonstration that the presumption of WQS compliance is “reasonable”
This demonstration should not require certainty, because the data and modeling of wet weather events is not perfect

## Slide 7: “Demonstration” Approach
“To be a successful demonstration, the permittee should demonstrate each of the following:”
  The planned control program is adequate to meet WQS and protect designated uses
  CSO discharges remaining after implementation of the planned control program will not preclude attainment of WQS of the receiving waters’ designated uses or contribute to their impairment
  The control program will provide the maximum pollution reduction benefits reasonably attainable
  The control program is designed to allow cost effective expansion or retrofitting

## Slide 8: Has Demonstration Swallowed the Presumption Approach?
Revised Long Term Control Plan for DC WASA:
evaluates compliance with applicable WQS on a daily, monthly and rolling 30-day average basis
parameters evaluated included fecal coliform, e. coli, CBOD, TSS and DO
recommended plan is
  2 overflows/year for Anacostia river
  4 overflows/year for Rock Creek
  4 overflows/year for Potomac River
equates to 99% capture on a system-wide, annual average basis

## Slide 10: Why Are We Spending All this Money?

## Slide 11: Why Are We Spending All this Money?