## Slide 1: Nine Minimum Controls
John T. Lyons, P.E.
Strand Associates

## Slide 2: Nine Minimum Controls
1. Proper operation and maintenance;
2. Maximum use of the collection system for storage;
3. Review and modification of pretreatment requirements;
4. Maximization of flow to the publicly owned treatment works (POTW) for treatment;
5. Prohibition of CSOs during dry weather;
6. Control of solid and floatable materials in CSOs;
7. Pollution Prevention;
8. Public Notification of CSO occurrences and impacts;
9. Monitoring of CSO impacts and the efficacy of CSO controls.

## Slide 3: Policy “expectations”
Permittees should immediately implement the nine minimum controls as soon as practicable but no later than January 1, 1997.

## Slide 4: National CSO Policy
1994 – USEPA publishes the CSO Policy.
  Phase I permit
    Implement NMC
  Phase II Permit
    Cont. implementation of NMC
    Long Term Control Plan

## Slide 5: EPA Guidance for NMC
The NMC…”do not require significant engineering studies or major construction, and can be implemented in a relatively short period (e.g., less than approximately two years).”

## Slide 6: EPA Guidance for NMC
EPA encourages municipalities to be creative and to explore innovative and cost-effective measures in implementing the NMC.
NMC are not temporary measures!

## Slide 7: Documentation of NMC
The alternatives considered for each minimum control;
The actions selected and the reasons for their selection;
A schedule showing additional steps to be taken;
The effectiveness of the minimum controls in reducing water quality impacts;

## Slide 8: EPA Guidance for NMC
The NMC are not necessarily distinct and separate from one another.
Many control measures can address more than one of the controls at the same time (e.g. street sweeping can address both S&F and PP)

## Slide 9: CWA National Enforcement Priorities (from OECA web page)
USEPA OECA list of priorities:
  Storm Water
  CSOs
  SSOs

## Slide 10: Comments from EPA Inspections
1. Proper O&M
  Develop a written O&M plan
  CMOM
  Increase sewer cleaning rates and CCTV inspections to decrease whole-system cycle times.

## Slide 11: Theme of EPA inspections
2. Maximize Storage
  Evaluate regulator settings (and document)
  Pump station operation
  Redirect separate sanitary flow
  Reduce inflow
  Raise overflow structures

## Slide 12: Theme of EPA inspections
3. Pretreatment
  Identify all “nondomestic” discharges to the CSS (not just SIUs).
    Volume, pollutants and concentration
  Assess impact of nondomestic discharges on receiving waters.

## Slide 13: Theme of EPA inspections
4. Maximize flow to POTW
  Determine capacity of major interceptors pump stations and treatment facilities
  Increase treatment capacity
    Off load flow

## Slide 14: Comments from EPA Inspections
5. Elimination of Dry Weather CSOs
  Implement an inspection program of critical components of CSS (dams, weirs, CSO outfalls).
  Eliminate or show a reduction in DWOs.

## Slide 15: Comments from EPA inspections
6. Solids and Floatables Control
- Study and consider end-of-pipe solid and floatable material controls
(e.g. baffles, screens, racks, booms, and skimmer vessels)

## Slide 16: Comments from EPA inspections
7. Pollution Prevention
- Public education program that encourages the proper disposal of sanitary and personal hygiene items.

## Slide 17: Comments from EPA Inspections
8. Public Notification
- “Permanent” signs at outfalls
- Bill inserts
- Newspaper articles

## Slide 18: Comments from EPA Inspections
9. Monitor CSO Impacts
- Visual inspections and other simple methods to determine occurrence and impact.
- Accurate flow metering equipment at each CSO.
- Date, time and rainfall

## Slide 19: 2004 Report to Congress
National implementation rate for NMCs is approximately 38%.

## Slide 20: Environmental Groups Meet with EPA
Enforcement and Compliance History Online (ECHO) database – inadequate.
Want EPA to add communities that do not meet NMC or LTCP requirements to its list of permittees in SNC.

## Slide 21: Policy – Small System Considerations
Comply with NMC
Public Participation
Sensitive Areas

## Slide 22: Looking Ahead…
Review/upgrade your NMC program
Documentation is critical
ID implemented controls
Summarize accomplishments
- inspection forms
- maintenance logs
- budgets

## Slide 23: Controls to Focus On
1. S&F Control
2. Pretreatment
3. Public Notification

## Slide 24: Obtain approval
Have a statement of NMC approval included in your NPDES permit.
- as specific activities
or
- incorporated by reference

## Slide 25: QUESTIONS?