## Slide 1: MANAGING PEAK WET WEATHER FLOWS
Nancy Wheatley
Water Resources Strategies
Reggie Rowe
CH2M Hill

## Slide 2: Agenda for Today
Managing peak wet weather flows at WWTP serving combined and separate sewer systems
Components of Proposed EPA Policy
WEF Project to Provide Protocols for Wet Weather Flow Management
Afternoon Will Provide Process Detail

## Slide 3: WEF Contribution to Peak WW Flow Management
Implementation of any policy requires clear, rational process to achieve environmentally sound wet weather flow management
WEF proposed that EPA fund a project to prepare a protocol for developing and evaluating wet weather management alternatives for all POTW treatment and collection systems
Guide would be a useful resource for POTWs and Regulatory Community

## Slide 4: 1994 CSO Policy
Encouraged maximizing flow to WWTP
Used the bypass regulation for wet weather flow management at WWTP
Required demonstration of “no feasible alternatives”
May not cause exceedences of WQS

## Slide 5: Proposed EPA Wet Weather Discharge Policy
Regulatory treatment of POTW’s wet weather flow management has not been consistent
Opposition to blending began to build after failure of SSO rule-making
Interpretation of the bypass regulation became the key issue

## Slide 6: Components of Proposed Policy: Goals
Provide consistent treatment for managing wet weather flows
Promote minimizing peak wet weather flows to WWTP from SSS
Prohibit wet weather diversions unless infeasible
Provide better public information
EPA’s goal is to eliminate over time

## Slide 7: Components of Proposed Policy: Scope
Applies to wet weather diversions around secondary treatment facilities where source is separate sanitary (not combined) sewer system, where flow is recombined
Does not apply to:
  Collection system events: wet or dry
  Dry weather diversions
  Diversions around other than secondary facilities
  Diverted flow that is not recombined

## Slide 8: Components of Proposed Policy: Standard
Based on POTW Bypass Regulation
“No Feasible Alternative”
  Determined based on comprehensive utility analysis using good engineering practices
Must be reassessed every permit cycle
Will not be supported if collection system O&M is poor

## Slide 9: POTW Challenges
POTW control of highly variable wet weather flows is limited by technical, resource and time constraints
Strict liability CWA appears to make some logical practices “illegal”
WQS adopted long ago complicate planning and prioritization of resources
Criteria for secondary treatment do not incorporate real world, wet weather conditions

## Slide 10: Goals of the Peak Wet Weather Flow Management Guide
Clarify the regulatory framework
Present wet weather management and planning approach
Integrate collection and treatment
Describe wet weather practices and processes

## Slide 11: Guide Preview
Origin and Relevance
Development Process
Document Organization
Key Contributions

## Slide 12: Origin and Relevance
EPA’s Nov. 2003 Draft Policy-Principle #2
  peak flow management is consistent with generally accepted practices & long term design criteria
WEF’s comments recommended that EPA develop a protocol to outline steps and alternatives to achieve an environmentally sound wet weather management plan

## Slide 13
Define planning area and period
Existing Flows (DWF and WWF)
Existing collection system (pipes and sewersheds)
Define existing conditions:
GIS
Flow monitoring
Sewer system models
Future Flows (DWF and WWF)
Future collection system (pipes and sewersheds)
Define future conditions:
Land use plans
Population projections
Evaluate collection system performance
Evaluate WWTP performance
Establish performance objectives for collection and WWTP system
Meet all objectives ?
Yes
No
List of technically viable alternatives
Identify / revise alternatives
Evaluate cost factors
Evaluate non-cost factors
Rank alternatives and select
Develop implementation schedule for selected alternative
Determine funding sources and customer impacts
Acceptable ?
No
Yes
Implement program
Establish alternatives evaluation criteria (cost and non-cost)
Wastewater System Improvement Planning Process
Establish Performance Objectives for Collection and WWTP System

## Slide 14: Project Development
USEPA Water Quality Cooperative Agreement
Steering and Technical Review Committees
Scope
  integrate collection and treatment
  clarify wet weather regulatory framework
  present wet weather management and planning approach
  describe wet weather practices/processes

## Slide 15: Review Process
Steering Committee kick-off meeting May 5, 2005
Workshop in October 2005 to review first draft
Second Draft issued February 2006
Guide completed and available June 2006

## Slide 16: Example Practice Request Template

## Slide 17: Guide Outline
Introduction
  Background, Purpose, Glossary, Acronyms
Principles for Wet Weather Management
  Framework, Principles, Objectives
Practices
  Planning, Managing, O&M

## Slide 18: Introduction
For owners, planners, designers, and operators of WW collection and treatment systems
Provides a method for POTWs to be more proactive in planning for wet weather flows
Evaluation of management alternatives based on risk assessment and performance objectives
Describes a process that can be used to build support for real-world solutions

## Slide 19: Principles
Wet Weather Management Framework
  Regulatory framework for CWA compliance and limitations of traditional approach
  System deficiencies vs. system failures
List of Principles
  Basis for the Guide
  Emphasize holistic planning approach
  Recognize experience-based criteria

## Slide 20: Principles
Performance Objectives Based on Risk
  Methods for applying proven risk management concepts to the definition of wet weather performance objectives
  Structured process that combines stakeholder input, community values, and technical approaches to compare alternatives

## Slide 21: Practices
Covers planning, managing, and O&M for conveyance and treatment
Guidance for selecting wet weather management practices
Details steps and provides references

## Slide 22: Key Contributions
Provides compendium of good engineering practices
Provides wet weather definitions for industry
Provides a defendable decision framework for planning and permit negotiations, particularly
  system capacity sizing
    Combined and sanitary
  implementing policy requirements
    Secondary Bypass regulation
    LTCP
Provides supporting documentation
  risk based performance objectives
  use attainability analysis