## Slide 1: Satellite Systems: Introduction and Overview
David W. Burchmore
Squire, Sanders & Dempsey L.L.P.
4900 Key Tower
Cleveland, OH 44114
Phone: (216) 479-8779
Fax: (216) 479-8780
Email: dburchmore@ssd.com
Prepared for the 2006 AMSA Law Seminar
Boston (November ----, 2006)

## Slide 2: Introduction and Overview
EPA estimates there are 4,800 satellite systems in the U.S.
Most satellite systems composed of sanitary sewers do not have NPDES permit coverage
Poorly performing satellite systems can be major contributors to peak flow problems in regional collection systems
Most regional systems have entered into service agreements with operators of their satellite collection systems
  most service agreements do not address peak flow conditions or establish specific requirements for management, operation and maintenance

## Slide 3
U.S. EPA’s Draft SSO Rule
1994 - 1996 10 FACA subcommittee meetings
May 1999 - Draft regulatory language released
Jan. 5, 2001 - Proposed Rule signed
Four basic elements:
  Prohibition against SSOs
  Capacity, Management, Operation & Maintenance
  Reporting, Public Notification and Recordkeeping
  Satellite System Permitting
The conditions applied to the satellite systems would include the reporting, public notification and recordkeeping and CMOM provisions applicable to other systems

## Slide 4
U.S. EPA’s Draft SSO Rule
Proposed rule would have applied NPDES permit conditions to satellite systems in one of two ways:
  owner/operator of satellite system would obtain NPDES permit and be responsible for implement permit requirements; or
  where “sufficient arrangements have been made and are supported by service agreements or other similar mechanisms,” the NPDES permit for the regional system would hold the regional system responsible for implementation of the permit conditions
Jan. 20, 2001 - Proposed Rule stayed
June 8, 2001 – NACWA letter to Whitman supported the concept of satellite system permits but objected to the option of imposing permit obligations on the regional system operator

## Slide 5
U.S. EPA “Fact Sheet” and “Model Permit Language” for SSOs
Circulated informally to states (April 2005)
Clarifies “existing law”
POTW permits should include
  Reporting, Recordkeeping and Public Notification
  CMOM programs
  SECAP requirements
Recommends issuance of satellite system permits
Legal issues:
  “Overflows” include basement backups
  Prohibition / “Zero discharge” standard
  Rulemaking required
  “potential” to discharge? (2d Cir. “CAFO” decision)

## Slide 6: NACWA Recommendations
Sept. 13, 2005 – NACWA letter to Grumbles urged EPA to turn its efforts away from the “Fact Sheet/Model Permit Language” approach and resume work on an SSO rule that would provide a consistent national policy
Sept. 14, 2006 – NACWA letter to Grumbles urges EPA to develop a comprehensive national program that would include regulation of satellite collection systems

## Slide 7: State-Level Permitting Approaches
Ohio
  Floated a draft proposal for satellite collection system general permit in 2004; never finalized
  Currently placing satellite system requirements in regional system or POTW permits
California
  Began with CMOM requirements in major municipal areas (e.g. Orange County; San Diego) in 2002
  State Board developed standard “waste discharge requirements” for satellite systems in 2006
Other states (Arizona, North Carolina, Wisconsin)
  See NACWA’s “50 State SSO Program Survey” at: www.nacwa.org/private/legreg/outreach/2005-50StSSOSvy.xls

## Slide 8: Enforcement Approaches
Region 4 – MOM Programs Project
  Phase I (1998) include 39 satellite systems; Phase II (2004)
Region 3 – ALCOSAN
  83 communities in service area (both CSO and SSO)
  Initiated in 1997; most communities addressed by 2004
Region 5 – Northeast Ohio CMOM Intiative
  59 member communities in NEORSD
  Region 5 initiated “voluntary” CMOM program in 2005

## Slide 9: Local Community Agreements
Federal grant regulations required an I/I analysis and Sewer System Evaluation Survey as a condition for receiving funds (40 CFR § 35.927)
Grantees were also required to obtain EPA approval of their local sewer use ordinance, and no funds were disbursed until the ordinance was approved and the grantee was complying with the SSES and rehabilitation program (40 CFR 35.935; see also CWA § 201(g)(3))
Some states have used these requirements as the basis for ongoing community discharge programs

## Slide 10: Local Community Agreements
Community discharge programs are not otherwise required by federal law
Federal regulations do require POTWs to report information on satellite communities served by the POTW as well as the type of collection system used by the satellite communities in their NPDES permit applications (40 CFR § 122.21(j)(1)(iv)
This information is used to assist the permit writer in detecting unauthorized discharges in the collection system prior to the POTW (64 Fed. Reg. 42434 (Aug. 9, 1999))

## Slide 11: Local Community Approaches
Today’s panel will discuss local sewer use ordinances and sewer service agreements in:
  Hampton Roads
  Milwaukee
  Los Angeles
Other examples (including Chattanooga, Denver, Miami Dade, Omaha, Orange County and Philadelphia) are posted on NACWA’s website at: http://www.nacwa.org/private/legforms/ssa.cfm