## Slide 1: TYPICAL ISSUES IN WATER QUALITY-BASED PERMIT (OR TMDL) DEVELOPMENT
John C. Hall
Hall & Associates
Washington, D.C.

## Slide 2: STANDARDS TO PERMITS PROCESS
WQS LAB STUDY
CONSTANT EXPOSURE
LIFECYCLE / 96 HOUR
TOXIC FORM
AVERAGING PERIOD
4 DAYS – CHRONIC
1 HOUR ACUTE
RETURN FREQUENCY
1 IN 3 YEAR (99.7%)
OR
7/Q/10 (99.97%)
1/Q/10
MODEL
SELECTION
STEADY STATE
MIXING ZONE
ACUTE/CHRONIC
END OF PIPE
PERMIT
LIMITATIONS
1-5%
EXCEEDANCE
MONITORING
TOTAL
POLLUTANT
SET STANDARD
APPLY STANDARD

## Slide 3: CRITERIA APPLICATION
“Criteria must be used in a manner that is consistent with the way in which they were derived if the intended level of protection is to be provided in the real world.”
USEPA Criteria Guidelines at 7 (1985).

## Slide 4: STANDARD AVERAGING PERIOD
“A statement of a criterion as a number that is not to be exceeded any time or place is not acceptable because few, if any, people who use criteria would take it literally and few, if any, toxicologists would defend a literal interpretation.”
USEPA Criteria Guidelines at 8 (1985).

## Slide 5: MODELS
“While courts routinely defer to agency modeling of complex phenomena, model assumptions must have a “rational relationship” to the real world.”
Appalachian Power v. EPA, 249 F.3d 1032 (DC Cir. 2001).

## Slide 6: MODELS
“Models need not fit every application perfectly, nor need an agency “justify the model on an ad hoc basis for every chemical to which the model is applied….[However], EPA “retains a duty to examine key assumptions as part of its affirmative burden of promulgating and explaining a non-arbitrary, noncapricious rule.”
Columbia Falls Aluminum Co. v. EPA, 139 F.3d 914 (DC Cir. 1998).

## Slide 7: MARGIN OF SAFETY
[A] “margin of safety” must be rooted in an analysis of risk…The Administrator [must] base his conclusions as to an adequate margin of safety on a reasoned analysis and evidence of risk.
American Petroleum Institute v. Costle 665 F. 2d 1176, 1187 (D.C.
Cir. 1981); Leather Industries of America v. EPA, 40 F. 3d 392, 400
D.C. Cir. 1994) (emphasis supplied).

## Slide 8: MIXING ZONE ANALYSIS
Acute Criteria (1 Hour Exposure)
EPA Recommends “Drifting Organism Analysis” or “ZID”
Assumes Pollutant is “Fast Acting”
Many States Apply Criteria “End-of-Pipe”
  BUT
    Virtually No Pollutants are “Fast Acting”
    Copper Non-toxic in Municipal Effluent

## Slide 9: SELECTION OF CRITICAL CONDITION
Ammonia – Instream pH
Metals - Hardness

## Slide 10: EFFECT OF MIXING ON pH

## Slide 11: STREAM FLOW v. HARDNESS

## Slide 12: NUTRIENTS ISSUES
Input
Response
Impairment
Nutrients
Nitrogen
Phosphorus
N:P Ratio
Other Limiting Factors
Light
Habitat
Flow
Temperature
Grazing
More
Plant Growth
Algae
Periphyton
Macrophytes
Water Quality Standards
Dissolved Oxygen
pH
Turbidity
Narrative Standards
Swimming
Drinking Water
Aesthetics
None

## Slide 13: STATE OF THE ART
Algal Growth (Well Understood)
Periphyton Growth (Limited Understanding)
Macrophyte Growth (Unknown)

## Slide 14: WHAT’S THE PROBLEM?
Applying Algal / DO Model to Periphyton
Focus on Low Flow Conditions
EPA Nutrient Criteria Guidance – Not Useful
Approaches Applicable to Floating Algae in Large River / Lakes Inapplicable to Fixed Plants in Streams
  Light
  Scour
  Kinetics

## Slide 15
MACROPHYTE COVERAGE (UPSTREAM)

## Slide 16
PROGRESS FOLLOWING ADOPTION OF TMDL

## Slide 17: PROGRESS FOLLOWING TMDL ADOPTION MACROPHYTE SURVEY RESULTS - COVERAGE
Station | 1999 Survey | 2004 Survey | 2005 Survey | Change
10,11 | 50% | 75-100% | 75-100% | Worse
9 | 50-75% | 50-75% | 0-25% | Better
8 | 50% | 75-100% | 75-100% | Worse
5,6 | 75-100% | 75-100% | 75-100% | Same
4 | 25-50% | 50-75% | 50-75% | Worse
2 | 25-50% | 0-25% | 0-25% | Better
1 | 0-25% | 0-25% | 0-25% | Same
UPSTREAM
DOWNSTREAM

## Slide 18: PENNSYLVANIA PERIPHYTON WOES

## Slide 19: EPA / DEP CHANGED APPROACH TO TP REGULATION
Prior Actions Related to DO Impacts Due to Excessive Plant Growth
New Focus on Nuisance Conditions (Defined As Periphyton Concentration Greater Than Pristine Levels – 100 mg Chlorophyll-a/m2)
“Nuisance” Level Is Exceeded in State Parks, Upstream of POTWs

## Slide 20: PERIPHYTON IN BACKGROUND STATIONS
PROPOSED STANDARD

## Slide 21: PERIPHYTON / TP CORRELATION

## Slide 22: IMPACT OF LIGHT ON RESULTS
Source: Everett and West (DEP staff), 2002
TP Standard = 0.22 mg/L

## Slide 23: REGRESSON ON CANOPY COVERAGE
Source: Everett and West (DEP staff), 2002

## Slide 24: PERIPHYTON v. STREAM FLOW

## Slide 25: TECHNICAL CONCLUSIONS
TP Very Poorly Correlated to Periphyton Growth
Periphyton Growth >> 100 mg/m2 If TP>10 ug/l With Ample Light Present
Natural Background May Control
Light Is Main Factor Controlling Growth
Low Flow Conditions Do Not Control

## Slide 26: WHAT CONTROLS PRE-TMDL DECISIONMAKING
122.4(i) New Facilities
122.44(d) Existing Facilities/Expansions
State Antidegradation/Non-degradation Rules
State WQBEL Policies/Guidance

## Slide 27: ARKANSAS v. OKLAHOMA
“[N]othing in the Act mandates a complete ban on discharges into a waterway that is in violation of existing water quality standards. Instead, the Act vests in the EPA and the States broad authority to develop long-range, area-wide programs to alleviate and eliminate existing pollution.”

## Slide 28: CASES ON INTERIM PERMITTING
Friends of the Wild Swan (MT)
  No Expansion Prior to TMDL
Annandale / Maple Lakes (MN)
  New Source Load Offset Not Allowed
Comm. for a Better Environment (CA)
  Minor Source Doesn’t Require Limit pending TMDL
EPA HQ Confusion Between 122.4(i) and 122.44(d)

## Slide 29: FOR MORE INFORMATION:
JOHN C. HALL
Hall & Associates
1101 15th Street, NW
Suite 203
Washington, D.C. 20005
(202) 463-1166
jhall@hall-associates.com