## Slide 1: WHAT IS THE “POINT” OF COMPLIANCE City of Indianapolis A Case Study
Rosemary G. Spalding
SPALDING & HILMES, PC
Presentation to
NACWA Law Seminar
Boston, MA
November 17, 2006

## Slide 2: Background
Indianapolis Consent Decree with U.S. EPA and the Indiana Department of Environmental Management (IDEM)
  October 4, 2006 - CD lodged in Federal District Court
  October 18, 2006 - Federal Register notice of 30-day public comment period (expires today - November 17)
Scope: combined sewer overflows (CSOs) and sanitary sewer discharges (SSDs)
Consent Decree and Long-Term Control Plan available at: www.indycleanstreams.org

## Slide 3: Scope of Consent Decree
CSO Requirements
  Continued implementation of the city’s Nine Minimum Controls (NMC) Program
  Implementation of the city’s $1.8 billion Long-Term Control Plan

## Slide 4: Scope of Consent Decree
SSD Requirements
  Continued implementation of city’s Capacity Manage- ment, Operation and Maintenance (CMOM) Program
  Completion of seven Capital Improvement Projects to address “chronic” SSD locations at estimated cost of $50.4 million

## Slide 5: CSO Compliance Requirements
Consent Decree: Indianapolis’ remaining CSOs, if any, shall comply with Indianapolis’ Current Permits (Section VI.G, ¶ 26)
NPDES Permit: Discharges from the CSOs listed herein shall not cause or contribute to violations of water quality standards or to the impairment of designated or existing uses. (Attachment A, Section I)
Indiana Recreational Use Water Quality Criteria:
  Geometric mean of 125 cfu/100 mL, based upon five equally spaced samples taken in a one-month period
  Single sample maximum of 235 cfu/100 mL

## Slide 6: Compliance Conundrum
132 CSO outfalls along 5 urban streams
Large-scale sewer separation to eliminate CSOs is neither cost-effective nor environmentally beneficial
LTCP’s storage & conveyance solution won’t eliminate all CSOs
Any CSO will violate Indiana’s current bacteria criteria
Therefore, a change in WQSs is needed through UAA to ensure compliance after LTCP implementation

## Slide 7: Negotiation Issues
Determining Level of Control
Identifying Compliance Measures
How many Performance Criteria do you need?
Defining Performance Criteria
Measuring Performance Criteria

## Slide 8: Negotiation Issues Determining Level of Control
How do you determine the appropriate level of CSO control?
  Knee of the curve
  Affordability
Performance Criteria: How do you describe/measure it? Federal CSO Policy describes three alternatives:
  % capture
  Overflow frequency
  % removal

## Slide 9: Negotiation Issues Determining Level of Control
Based upon knee of the curve and affordability analyses:
  Indianapolis proposed 95% capture system wide
  EPA proposed overflow frequency of 2 overflow events per typical year on Fall Creek and 3 on other watersheds
After negotiating, parties agreed in principle to:
  97% capture for Fall Creek and 95% capture for other watersheds
  2 overflow events on Fall Creek and 4 overflow events on other watersheds

## Slide 10: Actual Results Will Vary

## Slide 11: Negotiation Issues Identifying Compliance Measures
Design Criteria: Defines what you will build in design terms (MG, MGD, etc.)
Performance Criteria: Defines how it will perform when built
Critical Milestones: Defines milestone dates for completing key stages in project
  Indianapolis has only two: Bid Year and Achievement of Full Operation
  (See CD Exhibit 1; LTCP Section 7, Table 7-5)

## Slide 12: Negotiation Issues How many performance criteria do you need?
Indianapolis proposed % capture as appropriate measure of compliance based upon:
  Size of collection system
  Number of CSO outfalls
  Precipitation patterns
EPA wanted overflow frequency, but after compromise, demanded overflow frequency and % capture

## Slide 13: Negotiation Issues Defining Performance Criteria
EPA Performance Criteria Definition:
  For overflow frequency, EPA demanded performance to no more than 2 and 4 per typical year (2.0 and 4.0)
  For % capture, EPA demanded performance to 97.00% and 95.00%
City response: We cannot commit to EPA’s definition
  For overflow frequency, model predictions have inherent 20% variability
  For % capture, we cannot measure to that level of accuracy
  Meeting EPA demands will have potential $130 million price tag and no certainty of compliance in the end
  City willing to litigate this issue
When city rejected 4.0/2.0 overflow frequency and 97.00%/95.00% capture, EPA claimed city was “backing away” from its agreement

## Slide 14: Negotiation Issues Defining Performance Criteria
Final Performance Criteria Agreement
  Five-year (1996-2000) model simulation shows:
    97% or greater capture on Fall Creek watershed
    95% or greater capture on other watersheds
    12 or fewer CSO events into the Fall Creek watershed (2.4 average annual overflow frequency)
    24 or fewer CSO events into the other watersheds (4.8 average annual overflow frequency)
  (See LTCP Section 8.4)

## Slide 15: Negotiation Issues Measuring Performance Criteria
Collect data for 12 months after completion of all control measures in a watershed
Run continuous simulation of CSO discharges using existing model and compare to actual data
Recalibrate model, if needed
Run continuous simulation for years 1996-2000 to determine if performance criteria are met
  Advantage: data for 1996-2000 are known and can be used during design
  (See LTCP Section 8.4)

## Slide 16: Escape Hatch
What happens if Performance Criteria are not met?
  Submit plan for additional remedial measures to meet Performance Criteria
    OR
  Request modification of Performance Criteria if remedial measures would be cost-prohibitive, infeasible or otherwise inappropriate
EPA/IDEM approval required for both

## Slide 17: Conclusion
Ensure that full implementation of the long-term control plan will result in compliance with NDPES permit requirements, water quality standards and the Clean Water Act
Understand and define the “point” of compliance through specific performance criteria
Don’t agree to something you can’t meet, no matter what regulators say
Negotiate escape hatches in your permit or agreement

## Slide 18
Contact Information
Rosemary G. Spalding
SPALDING & HILMES, PC
330 South Downey Avenue
Indianapolis, IN 46219
(317) 375-0448
spalding@iquest.net