## Slide 1: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
NACWA 2006 National Pretreatment
&
Pollution Prevention Workshop
October 5, 2006
New Orleans

## Slide 2: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What are we talking about?
Compounds of Emerging Concern
Emerging Contaminants
Microconstituents
Trace Contaminants
Compounds of Potential Concern
Compounds of Concern
Pollutants of Concern
Trace Constituents

## Slide 3: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What are we talking about?
Emerging Contaminants
Consumer Products
Endocrine Disrupting Chemicals
Industrial Chemicals
Nanomaterials
Pathogenic Microorganisms
Personal Care Products
Pharmaceuticals
Plastics

## Slide 4: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What are we talking about?
Emerging Contaminants
Consumer Products
Endocrine Disrupting Chemicals
Industrial Chemicals
Nanomaterials
Pathogenic Microorganisms
Personal Care Products
Pharmaceuticals
Plastics

## Slide 5: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
Why are we talking about these contaminants?
Academics, state officials, and environmental advocates are starting
to question whether massive amounts of discarded pharmaceuticals, which are often flushed down the drain,
pose a threat to the nation’s aquatic life and possibly to people.
Washington Post, 2005

## Slide 6: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
Why are we talking about these contaminants?
Recent reports concerning emergent contaminants in water
such as antibiotics, vitamins, pharmaceuticals, and other supplements have raised concerns for many environmentalists.
Headworks, 2006

## Slide 7: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
Why are we talking about these contaminants?
Wastewater pouring from sewage-treatment plants
in Boulder and Denver
is bending the gender of fish living downstream,
a new study has shown.
Denver Post, 2006

## Slide 8: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
Why are we talking about these contaminants?
New analytical capabilities have allowed scientists
to identify chemicals in the environment
at extremely small concentrations.
Emerging contaminants are those chemicals that
have been shown to occur widely in our water resources and are
identified as being a potential environmental or public health risk.
Younos, 2005

## Slide 9: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
Why are we talking about these contaminants?
Relevant, Minute Quantities
Cause – Effect Relationships
Evidence for Concern
Negative Connotations
Promote Awareness
Risk vs. Benefit
Treatment Challenging
Scientific Uncertainties

## Slide 10: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
The dilemma? Is there a problem?
The occurrence of some emerging contaminants correlates with ecological effects and sexual abnormalities in fish.
Most contaminants do not pose a problem
since they occur at low concentrations in the environment.
Long-term and synergistic effects are not yet known
and caution should be advised.

## Slide 11: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What should we do? What can we do?
Precautionary Principal
When an activity raises threats of harm to human health or the environment, precautionary measures should be taken even if some cause and effect relationships are not fully established scientifically.
Monatgue 1998

## Slide 12: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What should we do? What can we do?
Precautionary Approach
Where there are threats of serious or irreversible damage, lack of full scientific certainty shall not be used as a reason for postponing cost-effective measures to prevent environmental degradation.

## Slide 13: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What should we do? What can we do?
Sound Science
Sound scientific evidence represents
a fundamental prerequisite in the decision-making process.

## Slide 14: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
What should we do? What can we do?
Advanced Wastewater Treatment
Industrial Pretreatment
Pollution Prevention
Public Education

## Slide 15: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
If I had the answer……..
        It would go here……………

## Slide 16: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
Common Sense lived a long life, but died from heart failure .
No one really knows how old he was, his birth records were long ago entangled in miles and miles of bureaucratic red tape.
Known to close friends as Horse Sense and Sound Thinking,
he selflessly devoted himself to a life of service,
helping folks get jobs done without a lot of fanfare.
Rules and regulations and petty, frivolous lawsuits
held no power over Common Sense.
Borgman, 2001

## Slide 17: What are we putting in the water? Consumer Products Present a New Pretreatment Challenge
NACWA 2006 National Pretreatment
&
Pollution Prevention Workshop
October 5, 2006
New Orleans