## Slide 1: Preparing Today’s Pretreatment Professional for the Demands of Tomorrow….
National Pretreatment Program Update: “The Demands of Today”

## Slide 2: EPA Effluent Guidelines Activities
Potential New Categorical Standards
  Drinking Water treatment residuals
  Airport Deicing
  “Health Services”
  Chlorine and chlorinated hydrocarbons mfg.
Are technically based local limits currently addressing these categories?
  Can BMPs allowed by Streamlining address these discharges?

## Slide 3: Other Issues at the National and State Level(s)
More and More TMDLs
  Resulting in extremely stringent NPDES permit limits and related MAHLs for affected pollutants [e.g. mercury]
  Nutrient TMDLs
    Pretreatment Program must respond to “limits of technology” NPDES permit limits for total phosphorus and total nitrogen

## Slide 4: Other Issues at the National and State Level(s)
Updated Water Quality Standards [WQS]
  Based on Updated EPA Criteria
  Example: North Carolina proposes change in cadmium freshwater WQS from 2 ppb to 0.16 ppb
  POTWs expected to accept NPDES permit limit they cannot measure
  Significant Pretreatment Program implications
    MAHLs so small that uncontrollable load alone exceeds it
      Over 50% of NC POTWs will be in this situation
    No industrial user can have detectable cadmium values [using 2 ppb lower reporting level]

## Slide 5: Other Issues at the National and State Level(s)
Pretreatment Baby Boomer Retirement “Brain and Experience Drain”
  At all levels: EPA…State…POTW…SIUs
  More pretreatment training/pretreatment certification programs needed
  PT Dinosaurs in all agencies need to develop formal approach to pass on the information/lessons learned from the last 3 decades

## Slide 6
The nation’s wastewater treatment facilities [and pretreatment programs] serve on the front lines of environmental protection. It is time for agencies which have long been identified with the untreated sewage coming into their facilities directly and assertively associate themselves with the significant resource they create….clean water.
Notes: Association of Metropolitan Sewerage Agencies (AMSA)….who soon after this statement became known as the National Association of Clean Water Agencies (NACWA)

## Slide 7
Are We Ready for the Challenges to Come?