## Slide 1: Pretreatment Streamlining Local Perspective
October 4 , 2006
Paul C. Martyn
Head, Industrial Waste Section
SANITATION DISTRICTS OF LOS ANGELES COUNTY
#692134

## Slide 2: EPA Proposes Pretreatment Streamlining Rule
July 22, 1999
Notes: -Full text in handouts.
-multiyear rate setting, revise penalty and interest provisions, clarify language.

## Slide 3: Final Pretreatment Streamlining
Rule Published: October 14, 2005
Effective Date: November 14, 2005

## Slide 4: Los Angeles County Sanitation District Program Submittal to RWQCB – March 6, 2006
Conversion to Mass Limit to Concentration Limit
Slug Discharge Control Plan
SNC Reporting Extension
Sampling for Pollutants Not Present
Annual Sampling for Categorical Industrial Users

## Slide 5: Regional Water Quality Control Board Response – March 28, 2006 Premature and Incomplete

## Slide 6: EPA February 2006 Pretreatment Streamlining Rule Fact Sheet 2.0: Required Changes
“Yes, there are required changes in the Pretreatment Streamlining Rule”

## Slide 7: RWQCB Notice to Los Angeles Area POTWS Mandatory Provisions of Streamlining Rule
40 CFR 403.8(f)(1)(iii)(B)(6) Clarification that slug control requirements must be referenced in SIU control mechanisms
40 CFR 403.8(f)(2)(viii)(A-C) Revisions to the SNC definition
40 CFR 403.12(g) Modifications to the sampling requirements and clarification of the requirement to report all monitoring results

## Slide 8: Updated removal credits provisions [403.7(h)]

## Slide 9: Slug control requirements must be included in SIU control mechanisms [403.8(f)(1)(iii)(B)(6)]

## Slide 10: 3. SIUs must be evaluated for the need for a plan or other action to control slug discharges within a year from the final rule’s effective date or from becoming an SIU [403.8(f)(2)(vi)]

## Slide 11: SIUs are required to notify the POTW immediately of any changes at its facility affecting the potential for a slug discharge [403.8(f)(2)(vi)]

## Slide 12: Significant Noncompliance (SNC) definition is expanded to include additional types of Pretreatment Standards and Requirements [403.8(f)(2)(viii)(A-C)]

## Slide 13: SIU reports must include BMP compliance information [403.12(b), (e), (h)]

## Slide 14: SIU control mechanisms must contain any BMPs required by a Pretreatment Standard, local limits, state or local law [403.8(f)(1)(iii)(B)(3)]

## Slide 15: Documentation of compliance with BMP requirements must be maintained as part of the SIU’s and POTW’s record-keeping requirements [403.12(o)]

## Slide 16: Control Authorities which perform sampling for SIUs must perform any required repeat sampling and analysis within 30 days of becoming aware of a violation [403.12(g)(2)]

## Slide 17: Require periodic compliance reports to comply with sampling requirements, require Control Authority to specify the number of grab samples necessary in periodic and non-categorical SIU reports, and require non-categorical SIUs to report all monitoring results [403.12(g)(3), (4), (6)]

## Slide 18: Non-Categorical SIUs are required to provide representative samples in their periodic monitoring reports [403.12(g)(3)]

## Slide 19: Require notifications of changed discharge to go to the Control Authority and the POTW, where the POTW is not the Control Authority [403.12(j)]

## Slide 20: How and when the POTW can designate a “duly authorized employee” to sign POTW reports [403.12(m)]
Notes: - highly publicized and political issue.
- Districts have been staying on top of new developments