## Slide 1: EPA’s OUTREACH FOR POST KATRINA RECOVERY
FOR THE
WASTEWATER SYSTEM
OF NEW ORLEANS
Ted Palit, P.E.
EPA Region 6

## Slide 2: Katrina – New Orleans WWTP
1998 DOJ Consent Decree
Compliance achieved pre-Katrina
Damages caused by Katrina
EPA’s post-Katrina role
AO issued on September 23, 2005

## Slide 3: Katrina – New Orleans WWTP
AO Constraints:
  Cease discharges of raw sewage ASAP, no later than 60 days
  Plant start-up at lease with primary treatment in 60 days
  Achieve disinfection by chlorination ASAP after plant start-up
  Report all unauthorized discharges and violations.

## Slide 4: Katrina – New Orleans WWTP
Compliance with AO requirements:
  Primary treatment started-up by mid-October, 2005
  Disinfection with chlorination achieved simultaneously along with plant start-up
  Discharge of raw sewage to Mississippi River ceased by mid-October, 2005
  Secondary treatment started by mid-November, 2005
  Achieved compliance with plant effluent discharges by November 2005

## Slide 5: Katrina – New Orleans WWTP
Second AO issued on January 10, 2006:
  Previous AO closed
  Emphasis on recovery of lift stations and collection systems
  Short term and long term responses and recovery efforts for treatment plant, collection system, and lift stations

## Slide 6: Katrina – New Orleans WWTP
Continued response and recovery efforts through Consent Decree
Challenges ahead
  Force majeure issues of Consent Decree
  Affordability
Lessons Learned – EPA’s role in compliance assistance