## Slide 1: Challenges Facing Portland’s Post-Implementation CSO Discharges
Jan Betz & Virgil Adderley October 18, 2004 CSO Partnership Workshop, Chicago
Notes: 1

## Slide 2: Overview
CSO Partnership UAA Workshop October 18, 2000
Portland's CSO Program Accomplishments & Status
CSO Bacteria Addressed in State WQS
  “Bacteria Management Plan”
  Currently questioned by EPA
Other Parameters of Concern
  Copper and Lead
  Narrative Standard prohibiting offensive discharges includes floatables & debris
Notes: 2

## Slide 3: Portland's 20-Year CSO Program
CSO Partnership UAA Workshop October 18, 2000
2011
1991
1994
1996
2001
2006
DEQ Issues SFO CSO Program Initiated
CSO Facilities Plan Completed
Focused Willamette River Planning Begins
Columbia Slough and 7 Willamette Outfalls Controlled
Willamette River West Side Outfalls Controlled (16)
Willamette River East Side CSO Outfalls Controlled
CSO Program Complete
ASFO Allowable Overflows Winter: 4 per year Summer: 1 Every 3 years
Notes: 2

## Slide 4: Portland's CSO Control Program
CSO Partnership UAA Workshop October 18, 2000
Cornerstone Projects
  Cost-effective stormwater inflow control measures
  Completed All but Stream Separation
Columbia Slough CSO Projects
  Large storage conduit, pumping and treatment
  Completed
Willamette River CSO Projects
  Deep tunnel storage, pumping and treatment
  Under Construction & Design
Achieved 55% System-wide CSO Reduction from 1990-2004
Notes: 2

## Slide 5: CSO Outfall Control Schedule
CSO Partnership UAA Workshop October 18, 2000
All 13 Columbia Slough Outfalls controlled by December 2000 - Completed
7 Willamette Outfalls Controlled by December 2001 - Completed
16 Willamette River Outfalls by December 2006 – In Construction
Final 19 Willamette River Outfalls by December 2011 – In Design
City has met all milestones scheduled in the Amended Stipulated Final Order (ASFO)
Notes: 2

## Slide 6: CSO Reductions Since 1970
CSO Partnership UAA Workshop October 18, 2000
Notes: 2

## Slide 7: CSO Program Costs
CSO Partnership UAA Workshop October 18, 2000
Program costs include operations, maintenance and capital
Spent to Date > $600 million
Estimated Total Cost in 2011 ~ $1.4 billion
Notes: 2

## Slide 8: CSO Bacteria Addressed in State WQS
CSO Partnership UAA Workshop October 18, 2000
Bacteria WQS waives numerical criteria for CSO where:
  CSO overflows meet storm-size requirements of LTCP & ASFO
  “Bacteria Management Plan” (LTCP) has been approved by State
New Willamette River Bacteria TMDL
  Portland CSO meets TMDL requirements
Notes: 2

## Slide 9: Other Parameters of Concern
CSO Partnership UAA Workshop October 18, 2000
Total Copper and Lead
  Acute criteria exceeded only. Short duration, intermittent discharges do not exceed toxic criteria
  Dissolved copper & lead do not exceed acute or toxic criteria
  Looking to permit via mixing zone at each remaining outfall for 10:1 dilution.
Notes: 2

## Slide 10: Other Parameters of Concern
CSO Partnership UAA Workshop October 18, 2000
Narrative Standard prohibiting offensive discharges
  General language, maybe difficult to meet with any CSO discharge
  Floatables and debris controls may not be sufficient to fully cover elements of narrative standard
Notes: 2

## Slide 11: CSO Legal Challenge Summary
CSO Partnership UAA Workshop October 18, 2000
Piecemeal approach thus far:
  Bacteria Management Plan in WQS
  Mixing Zones in Permit for Copper & Lead
  Floatables Control for remaining CSO discharges
Next Step?
  Consider UAA for a wet-weather beneficial use allowing CSOs.
Notes: 2

## Slide 12: Questions? Nicolai Shaft