## MWRA
Massachusetts Water Resource Authority (MWRA)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 2.5 | million
Number of Households | 800000
Age of community | ~300* | years | *See Attachment C, MWRA Sewerage
Age of areas w/medical or dental facilities |  | years | Division Plan, page 3-12,3-13
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.26 | µg/L | fiscal 2000 (7/99 - 6/00)
Average Effluent Mercury Conc. | 0.03 | µg/L | fiscal 2000 (7/99 - 6/00)
Maximum Influent Hg Conc. | 0.43 | µg/L | fiscal 2000 (7/99 - 6/00)
Maximum Effluent Hg Conc. | 0.05 | µg/L | fiscal 2000 (7/99 - 6/00)
Average water supply or background Hg | <.01 | µg/L | fiscal 2000 (7/99 - 6/00)
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 5 | mg/kg | dry weight
Maximum Biosolids Conc. (post digester) | 7.81 | mg/kg | dry weight
Average Ash Hg Conc | NA
Maximum Ash Hg Conc | NA
Inflow Hg Conc | 0.177 | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. | 0.177 | µg/L
Average Residential Conc. | 0.103 | µg/L
Average Commercial Conc. | 35.53 | µg/L
Incinerator Scrubber Water Conc. | NA | µg/L
Incinerator Emissions (air) | NA
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | * | MGD | *See Attachment D
Effluent flow | * | MGD | *See Attachment D
Residential flow | 117 | MGD
Commercial flow | 36252 | MGD
Industrial flow | 8.93 | MGD
Inflow flow | 56 | MGD | If Inflow & Infiltration combined please note here
Infiltration flow | 171 | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 850
Dentists | 1000
Laboratories | 19
Hospitals | 17
Medical Clinics | 1
Vehicle Service Facilities | 2900
Pottery/ceramics studios | NA
Colleges/Universities | 38
Secondary schools | NA
Medical waste incinerator | 1
Solid waste incinerators | 0
Other waste treatment facilities | 2
Do you accept septage? | Yes |  | communities do sampling and report results to MWRA
Septage station Hg concentration |  | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1 | See Email File Attachment titled Permitted Industries
Industry #2
Industry #3
Industry #4
Industry #5
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## HRSD
Hampton Roads Sanitation District (SRCSD)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 1500000 |  | area served; not service area; maybe 10% less
Number of Households | 418000 |  | Residential or combined? Waiting on Mary D.
Age of community | 58 | years
Age of areas w/medical or dental facilities | 58 | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.158 | µg/L | yr2000; avg of all TPs
Average Effluent Mercury Conc. | 0.001 | µg/L | yr2000; avg of all TPs; contact tank water prior to dechlor; all effluent < DL
Maximum Influent Hg Conc. | 0.181 | µg/L | yr2000; avg of all TPs
Maximum Effluent Hg Conc. | 0.008 | µg/L | yr2000; avg of all TPs; contact tank water prior to dechlor; all effluent < DL
Average water supply or background Hg |  | µg/L
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 1.2 | ug/g (wet) | avg of all TPs
Maximum Biosolids Conc. (post digester) | 1.6 | ug/g (wet) | avg of all TPs
Average Ash Hg Conc | <.2 | ug/g | avg of all TPs that incinerate
Maximum Ash Hg Conc | <.2 | ug/g | avg of all TPs that incinerate
Inflow Hg Conc |  | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. |  | µg/L
Average Residential Conc. | <.3 | µg/L
Average Commercial Conc. | <.6 | µg/L | combined residential/commercial; 1 obs <DL; max 0.7 ug/L
Incinerator Scrubber Water Conc. |  | µg/L | n/a
Incinerator Emissions (air) | 0.84 | g/hr (avg of all TPs) | 1.00 g/Hr avg max for all TPs
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 18.45 | MGD | avg of all TPs
Effluent flow | 18.45 | MGD | avg of all TPs
Residential flow | 70.3% | range- 49-86% | avg of all TPs | 12.9703
Commercial flow | 19.2% | range- 12-38% | avg of all TPs | 3.5424
Industrial flow | 10.5% | range- 2-39% | avg of all TPs | 1.9372
Inflow flow |  | MGD
Infiltration flow |  | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 916 | (may include dentists)
Dentists
Laboratories
Hospitals | 15
Medical Clinics | 30
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities | 11
Secondary schools
Medical waste incinerator
Solid waste incinerators | 1
Other waste treatment facilities
Do you accept septage? | Yes
Septage station Hg concentration
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1 | Commercial Lab | 14.9 | 450 | unknown; but unlikely
Industry #2 | Water Softener Service | 0.7 | 100000 | unknown; but unlikely
Industry #3 | Incinerator Waste | 0.7 | 3500 | unknown; but unlikely
Industry #4 | Furniture Stripping | 0.6 | 180 | unknown; but unlikely
Industry #5 | Medical School | 0.3 | 12000 | unknown; but unlikely
Industry #6 | Water Supply Solids | 0.3 | unknown | no
#7 | Chem Dist & Repack | 0.2 | 7500 | unknown; but possibly
#8 | Military Installation | 0.2 | 805000 | no
#9 | Military Installation | 0.2 | 85000 | no
#10 | Military Installation | 0.2 | 750000 | no
#11 | Hospital | 0.2 | 68000 | no
#12 | Spec. chem manufacture | 0.1 | 8000 | unknown; but possibly
#13 | Ship Repair | 0.1 | 400000 | unknown; but unlikely
#14 | Public Heath | 0.1 | 4500 | no
#15 | Oily Waste Treatment | 0.1 | 21000 | no
#16 | Water Treatment | 0.1 | unknown | unknown; but unlikely
#17 | Military Installation | 0.1 | 680000 | no
#18 | Newspaper printing | 0.1 | 26400 | unknown; but unlikely
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices
Laboratories | see 1 above; all others <DL |  | n/a
Hospitals | see 1 above; all others <DL |  | n/a
Medical Clinics | 38 | 6900 | n/a | One large military dental clinic
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities | see 1 above; all others <DL |  | n/a
Secondary schools
Medical waste incinerator
Solid waste incinerators | see 1 above; all others <DL |  | n/a
Other waste treatment facilities | see 1 above; all others <DL |  | n/a
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## SRCSD
Sacramento Regional County Sanitation District (SRCSD)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is already entered after an item, please confirm that the information is correct (and current).
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 1100000 | people
Number of Households | 326000 |  | Residential estimate/ does not include commercial or industrial equivalents
Average Influent Mercury Conc. | 0.227 | µg/L
Average Effluent Mercury Conc. | 0.009 | µg/L
Maximum Influent Hg Conc. | 0.705 | µg/L
Maximum Effluent Hg Conc. | 0.0249 | µg/L
Average Biosolids Hg Conc. | 1.79 | mg\kg | Please include units
Maximum Biosolids Conc. | 2.9 | mg\kg | Please include units
Average Ash Hg Conc | NA |  | District does not incinerate biosolids
Maximum Ash Hg Conc | NA |  | District does not incinerate biosolids
I&I Hg Conc | In progress | µg/L | Currently working on this information based on 2 years of monitoring the City interceptor (wet/'dry seasons). Will need to backcalculate concentration based on determined loading
Average Residential Conc. | 0.081 | µg/L | Based on 1999 sample program using clean techniques
Average Commercial Conc. | NA | µg/L | District has not conducted any specific commercial testing
Influent flow | 157000000 | gal/day | Average dry weather
Residential flow | 124030000 | gal/day
Commercial flow | 18470000 | gal/day
Industrial flow | 8570000 | gal/day
I&I flow | 22000000 | gal/day | Based on 5 year average wet season flow - dry season flow.
Number in Service Area
Dental Offices | 500 |  | Based on MW/LWA study performed for District 1994
Laboratories | 77 |  | Based on MW/LWA study performed for District 1994
Hospitals | 39 |  | Based on MW/LWA study performed for District 1994
Medical Clinics | 80 |  | Based on review of yellow pages listing for Medical Clinics
Vehicle Service Facilities | 1284 |  | Based on MW/LWA study performed for District 1994
Pottery/ceramics studios | 200 |  | Very rough estimate obtained from retail distributor of ceramic/pottery supplies. Mostly mom&pop type facilities. Schools may be significant user of this type of material.
Industrial Laundries | 8 |  | Two (of 8) classified as commercial (do not wash industrial rags, cloths, etc.) However one washes hospital linens, etc.
Printers | 200 |  | Based on MW/LWA study performed for District 1994
Waste Haulers | 20,000 gpd
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day)
Please feel free to add rows for additional industries
Industry #1 | Laundries |  |  | Have specific information for each of the laundries
Industry #2
Industry #3
Industry #4
Industry #5
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented?
Dentist |  |  | District has not performed specific sampling of commercial businesses
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## NEORSD - w
Northeast Ohio Regional Sanitation District Westerly Plant (NEORSD - w)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 123170 |  | 1990 Census Data for Westerly WWTP drainage area
Number of Households | 54672 |  | 1990 Census Data for Westerly WWTP drainage area
Age of community | 64 | years | Average age of NEORSD owned collection system within service area
Age of areas w/medical or dental facilities | 64 | years | Average age of NEORSD owned collection system within service area
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.113 | µg/L | 1/1/00-12/31/00
Average Effluent Mercury Conc. | 0.00311 | µg/L | 1/1/00-12/31/00
Maximum Influent Hg Conc. | 0.242 | µg/L | 1/1/00-12/31/00
Maximum Effluent Hg Conc. | 0.00503 | µg/L | 1/1/00-12/31/00
Average water supply or background Hg | 0.001086 | µg/L | 2000 Data-Clean sampling; Lake Erie raw water at intakes, n=6
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 1.175 | mg/kg | Year 2000, dry weight
Maximum Biosolids Conc. (post digester) | 4.2 | mg/kg | Year 2000, dry weight
Average Ash Hg Conc |  |  | No data
Maximum Ash Hg Conc |  |  | No data
Inflow Hg Conc |  | µg/L | No data
Infiltration Hg Conc. |  | µg/L | No data
Average Residential Conc. | 0.1153 | µg/L | 2000 Residental Hg clean sampling, n=7
Average Commercial Conc. |  | µg/L
Incinerator Scrubber Water Conc. |  |  | No data
Incinerator Emissions (air) | 41.1 | g/24 hr.
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 31.07 | MGD | Average daily flow 1999
Effluent flow | 31.07 | MGD | Average daily flow 1999
Residential flow | 12.2379 | MGD | Residential flow and commercial flow represented as one figure; Caculated by subtracting inflow/infiltration and industrial flows from influent/effluent flow.
Commercial flow |  | MGD
Industrial flow | 2.8 | MGD | From NEORSD Industrial Database (2000 data)
Inflow flow | 16.0321 | MGD | Inflow and Infiltration represented as one figure
Infiltration flow |  | MGD | Based on 1999 District wide study of billable vs. non-billable flow
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 110 |  | Estimate, assumes offices with multiple dentists is equivalent to dentists with multiple offices.
Dentists | 110 |  | Population based proportion of total
Laboratories | 5 |  | Does not include university labs
Hospitals | 4 |  | Within Westerly WWTP service area
Medical Clinics | 8 |  | Within Westerly WWTP service area
Vehicle Service Facilities | 143 |  | Population based proportion of total
Pottery/ceramics studios | 1 |  | Within Westerly WWTP service area
Colleges/Universities | 0 |  | Within Westerly WWTP service area
Secondary schools | 3 |  | Within Westerly WWTP service area
Medical waste incinerator | 0 |  | None
Solid waste incinerators | 0 |  | No commercial incinerators in the service area
Other waste treatment facilities | 0 |  | None
Do you accept septage? | No
Septage station Hg concentration |  | µg/L |  |  |  | 1.888
0.11
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load) | [5 empty] | 0.1215
[6 empty] | 0.11775 | ave based on # of each ind. (below)
Permitted industries | Type (SIC) | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
SIC #1 (16 Companies) | 3471 | 0.022-0.214 | 406894.7 | Yes | 0.118 | Concentration is a range of averages assuming zero for non-detects to MDL for non-detects.
SIC #2 (1 Company) | 3714 | 0.020-0.200 | 174514.6 | Yes | 0.11
SIC #3 (1 Company) | 3479 | 0.029-0.214 | 79492.3 | Yes | 0.1215
NOTE: Total mercury loading from listed SIC's is 90% of mercury loading from SIC's that had industries discharging detected mercury.
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices | 42.24 |  | Before | No Data
Laboratories | 34.5 |  | Before
Hospitals | 0.375 | 136840 | Before
Medical Clinics
Vehicle Service Facilities | 2.5 |  | Before
Pottery/ceramics studios
Colleges/Universities
Secondary schools | - | - | -
Medical waste incinerator | 4 |  | Before
Solid waste incinerators | - | - | -
Other waste treatment facilities | 1.4 |  | Before
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## NEORSD - s
Northeast Ohio Regional Sanitation District Southerly Plant (NEORSD - s)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 597936 | People | 1990 Census Data for Southerly WWTP drainage area
Number of Households | 241279 | Households | 1990 Census Data for Southerly WWTP drainage area
Age of community | 53 | years | Average age of NEORSD owned collection system within service area
Age of areas w/medical or dental facilities | 53 | years | Average age of NEORSD owned collection system within service area
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.323 | µg/L | 1/1/00-12/31/00
Average Effluent Mercury Conc. | 0.00317 | µg/L | 1/1/00-12/31/00
Maximum Influent Hg Conc. | 1.09 | µg/L | 1/1/00-12/31/00
Maximum Effluent Hg Conc. | 0.00584 | µg/L | 1/1/00-12/31/00
Average water supply or background Hg | 0.001086 | µg/L | 2000 Data-Clean sampling; Lake Erie raw water at intakes, n=6
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 1.51 | mg/kg | Year 2000, dry weight
Maximum Biosolids Conc. (post digester) | 6.4 | mg/kg | Year 2000, dry weight
Average Ash Hg Conc | 0.043478 | mg/kg | 1998 study, n=25
Maximum Ash Hg Conc | 0.4 | mg/kg | 1998 study, n=25
Inflow Hg Conc |  | µg/L | No data
Infiltration Hg Conc. |  | µg/L | No data
Average Residential Conc. | 0.0795 | µg/L | 2000 Residental Hg clean sampling, n=7
Average Commercial Conc. |  | µg/L | No data
Incinerator Scrubber Water Conc. |  | µg/L | No data
Incinerator Emissions (air) | 33.4 | g/24 hr.
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 109.49 | MGD | Average daily flow 1999
Effluent flow | 109.49 | MGD | Average daily flow 1999
Residential flow | 43.0932 | MGD | Residential flow and commercial flow represented as one figure; Caculated by subtracting inflow/infiltration and industrial flows from influent/effluent flow.
Commercial flow |  | MGD
Industrial flow | 9.9 | MGD | From NEORSD Industrial Database (2000 data)
Inflow flow | 56.4968 | MGD | Inflow and Infiltration represented as one figure
Infiltration flow |  | MGD | Based on 1999 District wide study of billable vs. non-billable flow
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 533 |  | Estimate, assumes offices with multiple dentists is equivalent to dentists with multiple offices.
Dentists | 533 |  | Population based proportion of total
Laboratories | 47 |  | Does not include university labs
Hospitals | 7 |  | Within Southerly WWTP service area
Medical Clinics | 26 |  | Estimate
Vehicle Service Facilities | 692 |  | Estimate
Pottery/ceramics studios | 6 |  | Within Southerly WWTP service area
Colleges/Universities | 3 |  | Within Southerly WWTP service area
Secondary schools | 23 |  | Within Southerly WWTP service area
Medical waste incinerator | 1 |  | Located at a hospital
Solid waste incinerators | 0 |  | No commercial incinerators in the service area
Other waste treatment facilities | 3 |  | Centralized Waste Treatment Facilities
Do you accept septage? | Yes
Septage station Hg concentration | 13.675 | µg/L | 2000 Study, n=34
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type (SIC) | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
SIC #1 (1 Company) | 3229 | 2.73-2.80 | 317382 | No |  | Concentration is a range of averages assuming zero for non-detects to MDL for non-detects. |  | 2.765 | 2.765
SIC #2 (27 Companies) | 3471 | 0.029-0.214 | 719095.5 | Yes |  |  |  | 0.1215 | 3.2805
SIC #3 (1Company) | 7213 | 2.04-2.08 | 68692.3 | No |  |  |  | 2.06 | 2.06
SIC #4 (2 Companies) | 7391 | 0.286-0.429 | 286512.8 | No |  |  |  | 0.3575 | 0.715
SIC #5 (3 Companies) | 2992 | 0.343-0.438 | 271380.2 | Yes |  |  |  | 0.3905 | 1.1715
SIC #6 (1 Company) | 2269 | 0.057-0.229 | 390257.5 | No |  |  |  | 0.143 | 0.143
SIC #7 (3 Companies) | 3496 | 0.045-0.225 | 244311.2 | Yes |  |  |  | 0.135 | 0.405
SIC #8 (1 Company) | 2865 | 1.0-1.0 | 62224.9 | No |  |  |  | 1 | 1
SIC #9 (1 Company) | 2711 | 0.700-0.800 | 52054.7 | No |  |  |  | 0.75 | 0.75
SIC #10 (2 Companies) | 7218 | 0.167-0.278 | 205046.9 | No |  |  |  | 0.2225 | 0.445
SIC #11 (3 Companies) | 4953 | 0.195-0.323 | 136066.9 | No |  |  |  | 0.259 | 0.777
SIC #12 (1 Company) | 3861 | 0.071-0.243 | 127933.9 | No |  |  |  | 0.157 | 0.157
SIC #13 (1 Company) | 3341 | 0.034-0.200 | 127732.5 | No |  |  |  | 0.117 | 0.117
NOTE: Total mercury loading from listed SIC's is 90% of mercury loading from SIC's that had industries discharging detected mercury. | [8 empty] | 0.29332
ave based on # of each ind.
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices | 42.24 |  | Before | No Data
Laboratories | 34.5 |  | Before
Hospitals | 0.375 | 136840 | Before
Medical Clinics |  |  | Before
Vehicle Service Facilities | 2.5 |  | Before
Pottery/ceramics studios |  |  | Before
Colleges/Universities |  |  | Before
Secondary schools |  | - | -
Medical waste incinerator | 4 |  | Before
Solid waste incinerators |  | - | -
Other waste treatment facilities | 1.4 |  | Before
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
Water filtration plant sludge |  | 1 | 0.215 | 312000 | Before
Sludge from small domestic WWTP's |  | 4 | 5.7 | 526 | Before
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## NEORSD -e
Northeast Ohio Regional Sanitation District Easterly Plant (NEORSD - e)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 401167 |  | 1990 Census Data for Easterly WWTP drainage area
Number of Households | 79517 |  | 1990 Census Data for Easterly WWTP drainage area
Age of community | 84 | years | Average age of NEORSD owned collection system within service area
Age of areas w/medical or dental facilities | 84 | years | Average age of NEORSD owned collection system within service area
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.143 | µg/L | 1/1/00-12/31/00
Average Effluent Mercury Conc. | 0.00356 | µg/L | 1/1/00-12/31/00
Maximum Influent Hg Conc. | 1.149 | µg/L | 1/1/00-12/31/00
Maximum Effluent Hg Conc. | 0.00954 | µg/L | 1/1/00-12/31/00
Average water supply or background Hg | 0.001086 | µg/L | 2000 Data-Clean sampling; Lake Erie raw water at intakes, n=6
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) |  |  | Easterly WWTP Biosolids are pumped by force main to Southerly WWTP
Maximum Biosolids Conc. (post digester) |  |  | Easterly WWTP Biosolids are pumped by force main to Southerly WWTP
Average Ash Hg Conc |  |  | Easterly WWTP does not incinerate sludge
Maximum Ash Hg Conc |  |  | Easterly WWTP does not incinerate sludge
Inflow Hg Conc |  | µg/L | No data
Infiltration Hg Conc. |  | µg/L | No data
Average Residential Conc. | 0.0586 | µg/L | 2000 Residental Hg clean sampling, n=7
Average Commercial Conc. |  | µg/L | No data
Incinerator Scrubber Water Conc. |  | µg/L | No data
Incinerator Emissions (air) | 1.4 | g/24 hr.
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 104.07 | MGD | Average daily flow 1999
Effluent flow | 104.07 | MGD | Average daily flow 1999
Residential flow | 46.8699 | MGD | Residential flow and commercial flow represented as one figure; Caculated by subtracting inflow/infiltration and industrial flows from influent/effluent flow.
Commercial flow |  | MGD
Industrial flow | 3.5 | MGD | From NEORSD Industrial Database (2000 data)
Inflow flow | 53.7001 | MGD | Inflow and Infiltration represented as one figure
Infiltration flow |  | MGD | Based on 1999 District wide study of billable vs. non-billable flow
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 357 |  | Estimate, assumes offices with multiple dentists is equivalent to dentists with multiple offices.
Dentists | 357 |  | Population based proportion of total
Laboratories | 41 |  | Does not include university labs
Hospitals | 8 |  | Within Easterly WWTP service area
Medical Clinics | 53 |  | Within Easterly WWTP service area
Vehicle Service Facilities | 464.1 |  | Population based proportion of total
Pottery/ceramics studios | 2 |  | Within Easterly WWTP service area
Colleges/Universities | 7 |  | Within Easterly WWTP service area
Secondary schools | 22 |  | Within Easterly WWTP service area
Medical waste incinerator | 2 |  | Located at hospitals
Solid waste incinerators | 0 |  | No commercial incinerators in the service area
Other waste treatment facilities | 0 |  | None
Do you accept septage? | No
Septage station Hg concentration |  | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type (SIC) | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
SIC #1 (30 Companies) | 3471 | 0.079-0.261 | 642204 | Yes | 0.17 | Concentration is a range of averages assuming zero for non-detects to MDL for non-detects |  | 5.1
SIC #2 (5 Companies) | 2869 | 0.058-0.232 | 621680.1 | No | 0.145 |  |  | 0.725
SIC #3 (1 Company) | 3317 | 0.167-0.300 | 234630.3 | Yes | 0.2335 |  |  | 0.2335
SIC #4 (2 Companies) | 7218 | 0.200-0.345 | 122059.2 | No | 0.2725 |  |  | 0.545
SIC #5 (1 Company) | 2819 | 0.029-0.214 | 239011.9 | No | 0.1215 |  |  | 0.1215
SIC #6 (2 Companies) | 3641 | 0.463-0.538 | 106581.4 | No | 0.5005 |  |  | 1.001
NOTE: Total mercury loading from listed SIC's is 90% of mercury loading from SIC's that had industries discharging detected mercury. | [7 empty] | 0.18844
ave taking #of ind. Into account
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices | 42.24 |  | Before | No Data
Laboratories | 34.5 |  | Before
Hospitals | 0.375 | 136840 | Before
Medical Clinics |  |  | Before
Vehicle Service Facilities | 2.5 |  | Before
Pottery/ceramics studios |  |  | Before
Colleges/Universities |  |  | Before
Secondary schools |  | - | -
Medical waste incinerator | 4 |  | Before
Solid waste incinerators |  | - | -
Other waste treatment facilities | 1.4 |  | Before
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
Baldwin water filtration plant sludge |  |  | 1.3 | 101621 | Before
Nottingham water filtration plant sludge |  |  | 0.3 | 267560 | Before
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## SF - SE
San Francisco - Southeast Plant
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 564744
Number of Households | 227089
Age of community | 60-100 | years
Age of areas w/medical or dental facilities | 60-100 | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
|  | SPREADSHEET: | 2000 OS SE inf eff.xls
Average Influent Mercury Conc. | 0.414 | µg/L | Most recent year. (1/00-12/00)
Average Effluent Mercury Conc. | 0.021 | µg/L | Most recent year. (1/00-12/00)
Maximum Influent Hg Conc. | 2.03 | µg/L | Most recent year. (1/00-12/00)
Maximum Effluent Hg Conc. | 0.136 | µg/L | Most recent year. (1/00-12/00)
Average water supply or background Hg | < 0.0025 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | <0.0025 |  | Please include units
Maximum Biosolids Conc. (post digester) | <0.0025 |  | Please include units
Average Ash Hg Conc | N/A |  | Please include units
Maximum Ash Hg Conc | N/A |  | Please include units
Inflow Hg Conc |  | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. |  | µg/L
Average Residential Conc. | 0.27 | µg/L | 0.10 ug/l MDL = 0 | 0.27 ug/l MDL = 1/2 |  | 0.38 ug/l MDL =MDL |  | 43 detects out of 209 samples
Average Commercial Conc. | 0.37 | µg/L | 0.25 ug/l MDL = 0 | 0.37 ug/l MDL = 1/2 |  | 0.38 ug/l MDL =MDL |  | 21 detects out of 76 samples
Incinerator Scrubber Water Conc. | N/A | µg/L
Incinerator Emissions (air) | N/A |  | Please include units
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 65 | MGD
Effluent flow | 65 | MGD
Residential flow | 30 | MGD
Commercial flow | 32.2 | MGD
Industrial flow | 2.8 | MGD
Inflow flow |  | MGD | If Inflow & Infiltration combined please note here
Infiltration flow |  | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices |  | Ask Hayden to fill in except dental offices
Dentists
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators | 0
Other waste treatment facilities
Do you accept septage?
Septage station Hg concentration |  | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1
Industry #2
Industry #3
Industry #4
Industry #5
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices | Already sent to Besty
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## SF - OS
San Francisco - Oceanside Plant
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 224033
Number of Households | 91795
Age of community | 25-50 | years
Age of areas w/medical or dental facilities | 25-50 | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
|  | SPREADSHEET: | 2000 OS SE inf eff.xls
Average Influent Mercury Conc. | 0.237 | µg/L | Most recent year. (1/00-12/00)
Average Effluent Mercury Conc. | 0.051 | µg/L | Most recent year. (1/00-12/00)
Maximum Influent Hg Conc. | 0.557 | µg/L | Most recent year. (1/00-12/00)
Maximum Effluent Hg Conc. | 0.168 | µg/L | Most recent year. (1/00-12/00)
Average water supply or background Hg | <0.0025 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | <0.0025 |  | Please include units
Maximum Biosolids Conc. (post digester) | <0.0025 |  | Please include units
Average Ash Hg Conc | N/A |  | Please include units
Maximum Ash Hg Conc | N/A |  | Please include units
Inflow Hg Conc |  | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. |  | µg/L
Average Residential Conc. | 0.27 | µg/L | 0.15 ug/l MDL = 0 | 0.27 ug/l MDL + 1/2 |  | 0.38 ug/l MDL =MDL |  | 43 detects out of 209 samples
Average Commercial Conc. | 0.24 | µg/L | 0.14 ug/l MDL = 0 | 0.24 ug/l MDL + 1/2 |  | 0.35 ug/l MDL =MDL |  | 11 detects out of 36 samples
Incinerator Scrubber Water Conc. |  | µg/L
Incinerator Emissions (air) |  |  | Please include units
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 17.6 | MGD
Effluent flow | 17.6 | MGD
Residential flow | 13.1 | MGD
Commercial flow | 3.35 | MGD
Industrial flow | 1.15 | MGD
Inflow flow |  | MGD | If Inflow & Infiltration combined please note here
Infiltration flow |  | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices |  | Ask Hayden to fill in except dental offices
Dentists
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator | 0
Solid waste incinerators | 0
Other waste treatment facilities | 0
Do you accept septage? | Yes
Septage station Hg concentration |  | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1
Industry #2
Industry #3
Industry #4
Industry #5
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices | Already sent to Besty
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## WLSSD
Western Lake Superior Sanitation District (WLSSD)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 95000
Number of Households | 30000
Age of community | 200 | years
Age of areas w/medical or dental facilities | 100 | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.106 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
Average Effluent Mercury Conc. | 0.0047 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
Maximum Influent Hg Conc. | 1.15 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
Maximum Effluent Hg Conc. | 0.029 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
Average water supply or background Hg | 0.001 | µg/L | Most recent year. Indicate time period (e.g., 1/00-12/00)
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 0.46 |  | ppm dry not digested
Maximum Biosolids Conc. (post digester) | 0.86 |  | ppm dry not digested
Average Ash Hg Conc | 0 |  | Please include units
Maximum Ash Hg Conc | 0 |  | Please include units
Inflow Hg Conc | 0.28 | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. | 0.28 | µg/L
Average Residential Conc. | 0.08 | µg/L
Average Commercial Conc. | 0.2 | µg/L
Incinerator Scrubber Water Conc. | 5 | µg/L
Incinerator Emissions (air) | 17 | ug/dscm | Please include units
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 39 | MGD
Effluent flow | 39 | MGD
Residential flow | 15.6 | MGD
Commercial flow | 5 | MGD
Industrial flow | 18.4 | MGD
Inflow flow | 0.15 | MGD | combined
Infiltration flow |  | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 60
Dentists | 100
Laboratories | 5
Hospitals | 4
Medical Clinics | 10
Vehicle Service Facilities | 40
Pottery/ceramics studios | 5
Colleges/Universities | 4
Secondary schools | 10
Medical waste incinerator | 0
Solid waste incinerators | 0
Other waste treatment facilities | 1
Do you accept septage?
Septage station Hg concentration | 62 | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1 | Pulp&Paper | 1.5e-05 | 12.75
Industry #2 | Pulp&paper | 1.6e-05 | 4.458
Industry #3 | Org Chem | 6.3e-05 | 0.0317
Industry #4 | all others | 1.8e-05 | 1.2
Industry #5
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices | 200000 | 0.25 | after |  | 3 | 57 | >5 dentists= med 1or2small
Laboratories | 0.5 | 2000 | after | 1 |  | 4 | over 10,000 gpd large
Hospitals | 1 | 100000 | after | 2 |  | 2
Medical Clinics | 0.5 | 5000 | after |  |  | 10
Vehicle Service Facilities | 0.5 | 1000 | after |  |  | 40
Pottery/ceramics studios | 0.3 | 1000 | after |  |  | 5
Colleges/Universities | 1 | 100000 | after |  | 3 | 1 | med 10,000-2,000
Secondary schools | 0.5 | 10000 | after | 1 | 3 | 6 | =1000,1000-500,<500
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities | 5 | 1000000 | after | 1 |  |  | sludge inc.
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## GBMSD
Green Bay Municipal Sanitation District (GBMSD)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 180900
Number of Households | 64000
Age of community | 5-100 years | years | Community and dental/medical age varies greatly from inner city (100 yr.) to newer suburbs (5 yr. or less). This would be very difficult to define in exact terms.
Age of areas w/medical or dental facilities | 5-100 years | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.104 | µg/L | Average for 12 months in 2000. Average for 12 months in 1999 is attached.
Average Effluent Mercury Conc. | <0.007 | µg/L | Average for 12 months in 2000. Average for 12 months in 1999 is attached.
Maximum Influent Hg Conc. | 0.169 | µg/L | Average for 12 months in 2000. Average for 12 months in 1999 is attached.
Maximum Effluent Hg Conc. | <0.007 | µg/L | Average for 12 months in 2000. Average for 12 months in 1999 is attached.
Average water supply or background Hg |  | µg/L | Water supply is combination of Lake Michigan water for Green Bay and community wells for the surrounding suburb's.
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (raw sludge) | 0.51 | mg/Kg (dry wt) | Average for 12 months in 2000. Average for 12 months in 1999 is attached.
Maximum Biosolids Conc. (raw sludge) | 0.89 | mg/Kg (dry wt) | Note: Biosolids Hg concentrations expressed as raw sludge values, we do not have digesters.
Average Ash Hg Conc | <0.04 | mg/Kg (dry wt)
Maximum Ash Hg Conc | <0.04 | mg/Kg (dry wt)
Inflow Hg Conc |  | µg/L | Do not have sampling data at this point in time
Infiltration Hg Conc. |  | µg/L | Do not have sampling data at this point in time
Average Residential Conc. | 0.045 | µg/L | Based on monthly sampling from meter stations representing primarily residential service
Average Commercial Conc. | 0.33 | µg/L | Based on monthly sampling from meter stations representing primarily commercial service
Incinerator Scrubber Water Conc. | 0.301 | µg/L | Average for 12 months in 2000. Average for 12 months in 1999 is attached.
Incinerator Emissions (air) | 18.92 | grams/day | Based on a mass balance across the wet scrubber
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 27.5 | MGD
Effluent flow | 27.6 | MGD
Residential flow | 13 | MGD
Commercial flow | 1.5 | MGD
Industrial flow | 11.5 | MGD | Industrial = Includes flow (6.5 MGD) from the two paper mills, Fort James East and Proctor & Gamble.
Inflow flow | 1.5 | MGD | Inflow & Infiltration are combined.
Infiltration flow | NA | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 80
Dentists | 155
Laboratories | 21 |  | Includes 21 dental labs, 5 environmental labs, 4 research labs and 1 medical lab
Hospitals | 3 |  | New hospital being built to come on line in September 2001
Medical Clinics | 27
Vehicle Service Facilities | 92
Pottery/ceramics studios | 0
Colleges/Universities | 3
Secondary schools | 11 |  | Interpreted as high school and above.
Medical waste incinerator | 0
Solid waste incinerators | 0
Other waste treatment facilities | 0
Do you accept septage? | Yes |  | Includes hauled wastes; septic tank, holding tank, remediation waters and dilute sludge.
Septage station Hg concentration | 0.03133 | mg/L | Equal to average of 2.84 grams/day
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load) (NOTE: Contribution from
Permitted industries (5 highest in mass) | Type | Hg Conc.(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Animal - Rendering plant |  | 0.167 | 601840 | Caustic soda
Pioneer Metal Finishing - Metal finishing |  | 0.082 | 432800 | Acid
Fort James West - Paper mill |  | 0.082 | 429800 | Acid & Caustic
Catenation - Plastic recycling facility |  | 0.379 | 62500 | None
Agrilink Foods - Food processing |  | 0.027 | 797067 | Caustic-pH
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.

## Westbrook
Portland Water District Westbrook Plant (Westbrook)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 15000
Number of Households | 4874
Age of community | 300 | years
Age of areas w/medical or dental facilities | 1-150 | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.281 | µg/L | 1/00-12/00
Average Effluent Mercury Conc. | 0.0069 | µg/L | 1/00-12/00
Maximum Influent Hg Conc. | 0.718 | µg/L | 1/00-12/00
Maximum Effluent Hg Conc. | 0.0169 | µg/L | 1/00-12/00
Average water supply or background Hg | 0.0005 | µg/L | 1/00-12/00
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 0.8 | mg/dry kg | Please include units
Maximum Biosolids Conc. (post digester) | 1.3 | mg/dry kg | Please include units
Average Ash Hg Conc | N/A |  | Please include units
Maximum Ash Hg Conc | N/A |  | Please include units
Inflow Hg Conc |  | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. |  | µg/L
Average Residential Conc. | 0.00026 | µg/L
Average Commercial Conc. | 0.00026 | µg/L
Incinerator Scrubber Water Conc. | 0.005 | µg/L
Incinerator Emissions (air) | 13 | µg/cm3 | Please include units
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 2.51 | MGD
Effluent flow | 2.51 | MGD
Residential flow |  | MGD
Commercial flow |  | MGD
Industrial flow | 0.16 | MGD
Inflow flow |  | MGD | If Inflow & Infiltration combined please note here
Infiltration flow |  | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 10
Dentists | 25
Laboratories | 1
Hospitals | 1
Medical Clinics | 2
Vehicle Service Facilities | 24
Pottery/ceramics studios | 3
Colleges/Universities | 0
Secondary schools | 6
Medical waste incinerator | 0
Solid waste incinerators | 0
Other waste treatment facilities | 0
Do you accept septage? | YES
Septage station Hg concentration | 0.021 | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1 | Pharmaceutical | 0.014 | 20000 | No
Industry #2 | Metal Finish | 0.0002 | 51000 | 500 gal max.
Industry #3 | Ind. Laundry | 0.04 | 37000 | 500 gal max.
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.
N/A
N/A

## Portland
Portland Water District Portland Plant (Portland)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 60000
Number of Households | 15681
Age of community | 360 | years
Age of areas w/medical or dental facilities | 1-150 | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.101 | µg/L | 1/00-12/00
Average Effluent Mercury Conc. | 0.014 | µg/L | 1/00-12/00
Maximum Influent Hg Conc. | 0.101 | µg/L | 1/00-12/00
Maximum Effluent Hg Conc. | 0.052 | µg/L | 1/00-12/00
Average water supply or background Hg | 0.0005 | µg/L | 1/00-12/00
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Average Biosolids Hg Conc. (post digester) | 0.7 | mg/dry kg | Please include units
Maximum Biosolids Conc. (post digester) | 1.2 | mg/dry kg | Please include units
Average Ash Hg Conc | N/A |  | Please include units
Maximum Ash Hg Conc | N/A |  | Please include units
Inflow Hg Conc |  | µg/L | If Inflow & Infiltration combined please note here
Infiltration Hg Conc. |  | µg/L
Average Residential Conc. | 0.045 | µg/L
Average Commercial Conc. |  | µg/L
Incinerator Scrubber Water Conc. | 0.005 | µg/L
Incinerator Emissions (air) | 13 | µg/cm3 | Please include units
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 16.4 | MGD
Effluent flow | 16.4 | MGD
Residential flow |  | MGD
Commercial flow |  | MGD
Industrial flow | 1.43 | MGD
Inflow flow |  | MGD | If Inflow & Infiltration combined please note here
Infiltration flow |  | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 80
Dentists | 200
Laboratories | 0
Hospitals | 3
Medical Clinics | 9
Vehicle Service Facilities | 35
Pottery/ceramics studios | 3
Colleges/Universities | 3
Secondary schools | 9
Medical waste incinerator | 0
Solid waste incinerators | 1
Other waste treatment facilities | 0
Do you accept septage? | yes
Septage station Hg concentration | 0.021 | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries | Type | Hg Conc(µg/L) | Flow (gal/day) | Does this industry use large volumes (e.g., tank cars) of acids/bases?
Industry #1 | Ship Build | 0.05 | 15000 | 500 gal max. |  | listed as <20,000gpd so used 15,000gpd
Industry #2 | Pharmaceutical | 0.171 | 750 | no
Industry #3 | Hospital | 0.098 | 300000 | 500 gal max.
Industry #4 | Hospital | 0.23 | 250000 | no
Industry #5 | Metal Finish | 0.001 | 56000 | no
Industry #6 | Landfill | 0.007 | 70000 | 500 gal max.
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices
Laboratories
Hospitals
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities
Secondary schools
Medical waste incinerator
Solid waste incinerators
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.
N/A
N/A

## LAWPCA
Lewiston-Auburn Water Pollution Control Agency (LAWPCA)
Please enter the requested information in the shaded boxes. Also, please complete Other Questions worksheet.
If a response is entered in a cell then please confirm that it is still correct & current or modify as necessary.
Notes, explanations for data may be typed in Column D if desired
Requested Item | Number | units | Notes
Service Area Population | 50000 |  | estimated; awaiting better data from sewer agencies
Number of Households | 13889 |  | Taken from ave. pop/household ratio from other plants
Age of community | >100 | years | estimated; awaiting better data from sewer agencies
Age of areas w/medical or dental facilities | 10-100 years | years
For plant data (i.e., influent, effluent, etc.) please add a spread sheet with the most recent year's data.
Average Influent Mercury Conc. | 0.07 | µg/L | 1999-2000
Average Effluent Mercury Conc. | 0.0053 | µg/L | 1999-2000
Maximum Influent Hg Conc. | 0.078 | µg/L | 1999-04-22
Maximum Effluent Hg Conc. | 14.5 | µg/L | 2000-11-28
Average water supply or background Hg | 0.000329 | µg/L | drinking water from faucet/Nov.1999
For biosolids please indicate if wet weight or dry weight. Please indicate quantity that is land applied and Hg concentration.
Biosolids (Class B) land applied, and Class A (composted). 100% is land applied or composted. Results are dry wt., avg. 21% solids
Average Biosolids Hg Conc. (post digester) | 0.647 | mg/Kg | Please include units | 2000 ytd
Maximum Biosolids Conc. (post digester) | 1.27 | mg/Kg | Please include units | Sept. 2000
Average Ash Hg Conc |  |  | Please include units
Maximum Ash Hg Conc |  |  | Please include units
Inflow Hg Conc |  | µg/L | Combined sewer system
Infiltration Hg Conc. |  | µg/L | unknown concentration
Average Residential Conc. | 0.029 | µg/L | sample Domestic/Commercial mix
Average Commercial Conc. | 0.029 | µg/L | sample Domestic/Commercial mix
Incinerator Scrubber Water Conc. |  | µg/L
Incinerator Emissions (air) |  |  | Please include units
For flow data, include monthly average flows if available in a separate spread sheet (or with concentration data).
Influent flow | 12.2 | MGD | 2000 ytd
Effluent flow | 12.2 | MGD
Residential flow | 7.4 | MGD | estimate at 7.4 mgd dry weather (Sept. 2000)
Commercial flow | 7.4 | MGD | for both commercial and residential
Industrial flow | 1.1 | MGD | 1999
Inflow flow | 3.7 | MGD | estimate for both I & I = 3.7 mgd (12.2-8.5)
Infiltration flow | 3.7 | MGD
Include or mail separately, a plant schematic to show where samples are taken and to clarify your treatment process
Number in Service Area:
Dental Offices | 20 | estimated
Dentists | 35 | estimated
Laboratories | 2 | estimated
Hospitals | 2
Medical Clinics | 2 | estimated
Vehicle Service Facilities | 60 | estimated
Pottery/ceramics studios | 2 | estimated
Colleges/Universities | 7
Secondary schools | 3
Medical waste incinerator | 0
Solid waste incinerators | 1
Other waste treatment facilities |  |  | ????? 9 industrial facilities have pretreatment
Do you accept septage? | Yes
Septage station Hg concentration | unknown | µg/L
Please feel free to add rows for additional industries or attach a separate sheet. You may also group industry data by SIC code or other category OR provide data for biggest industries(i.e., representing >90% of flow or Hg load)
Permitted industries (1999-2000) | Type | Hg Conc(µg/L) 1999-2000 | Flow (gal/day) 1999 | Does this industry use large volumes (e.g.,) of acids/bases?
Industry #1 Textiles | SIC: 2221 | <0.2 | 18960 | Yes | 0.1 | using ND as 0.5*MDL
Industry #3 Textiles | SIC: 2211 | 0.153 | 49710 | Yes | 0.153
Industry #4 Pulp & Paper | SIC: 2611 | <0.2 | 554618 | Yes | 0.1
Industry #6 Groundwater Remediation | unclassified | <0.2 | 8760 | No | 0.1
Industry #7 Bakery | SIC: 2051 | <0.2 | 4681 | Yes | 0.1
Industry #8 Metals & Machinery | SIC: 3535, 3559 | <0.2 | 3300 | Yes | 0.1
Industry #9 Metal Finishing | SIC: 3471 | <0.2 | 124000 | Yes | 0.1
Industry #10 Job Shop Coatings | SIC: 3479 | <0.2 | 14982 | Yes | 0.1
Industry #11 Nonferrous Metal Forming, maunufacturing/Electric lamps | SIC: 3339, 3356, 3648 | 14 | 26746 | Yes | 14
Industry #12 OCPSF/laminates | SIC: 2821, 3083 | 0.4 | 28046 | Yes | 0.4
Industry #13 Water & Carbonated Water Bottler | SIC: 2086 | <0.2 | 124356 | No | 0.1
Industry #14 Transportation Equipment Cleaning | SIC: 4231, 4789 | <0.4 | 1100 | Yes | 0.2
Industry #16 Soft Drink Bottler | SIC:2086 | <0.2 | 48079 | No | 0.1
Industry #17 Transportation Equipment Cleaning | SIC: 4213, 4231, 7699 | <0.2 | 5711 | Yes | 0.1
Industry #18 Paperboard (corrugated) | SIC:2653 | 0.4 | 4309 | Yes | 0.4
Industry #19 Distilled spirits botting | SIC: 2085 | 2.5 | 7830 | Yes | 2.5
Optional Information (this will be entered into calculation manually after we receive it from you)
We will use default values if you do not have this information requested below for your community
Additional available data | Hg Conc (µg/L) | Average Flow (gal/day/ facility) | Is this data before or after a P2 (or regulatory) program was implemented? | Number of large offices | Number of medium offices | Number of small offices | How do you define large, medium, small?
Dental Offices
Laboratories
Hospitals | 0.00052 | 790000
Hospitals | <1.0 | 22818
Medical Clinics
Vehicle Service Facilities
Pottery/ceramics studios
Colleges/Universities | <0.2 | 48470 | After
Secondary schools
Medical waste incinerator
Solid waste incinerators | no discharge
Other waste treatment facilities
Other commercial | Type | Number | Hg Conc(µg/L) | Flow (gal/day/ facility) | Before or after P2 Implemented?
HAVE YOU COMPLETED THE OTHER QUESTIONS WORKSHEET? PLEASE DO SO BEFORE RETURNING THIS.