## Results
| Table _. | BMP Reduction Model Results: NEORSD-E
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 90.5347 | 149.0714 | 99.5217 | 94.3329 | 33.09% | 40.1% | 3.7227 | 3.6487 | 3.5331 | 3.6354 | 3.183% | 4.053%
SE | 17.2047 | 26.4617 | 18.0873 | 21.4484 | 4.882% | 6.124% | 0.65012 | 1.7862 | 1.7309 | 1.7994 | 0.5648% | 0.7725%
LL95 | 59.784 | 110.9705 | 74.4602 | 66.0846 | 23.21% | 27.53% | 2.5857 | 1.2139 | 1.1657 | 1.2043 | 2.09% | 2.543%
Median | 89.8833 | 145.9278 | 95.2176 | 92.6762 | 33.01% | 41.28% | 3.7083 | 3.2408 | 3.1454 | 3.2467 | 3.154% | 4.17%
UL95 | 127.3654 | 205.1622 | 138.0666 | 141.139 | 41.49% | 49.62% | 5.0122 | 8.0066 | 7.7924 | 7.6049 | 4.197% | 5.337%
Min | 48.4083 | 100.6823 | 67.3385 | 62.4053 | 19.33% | 22.81% | 1.7925 | 0.85883 | 0.83491 | 0.85 | 1.704% | 2.049%
Max | 146.9333 | 237.067 | 170.8317 | 182.5852 | 45.12% | 51.38% | 6.0967 | 14.0885 | 13.5007 | 10.3889 | 4.687% | 5.605%
(1) Estimated from resampled monitoring data distribution.
| Table _. | BMP Reduction Model Results: NEORSD-S
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 257.561 | 184.1032 | 126.0658 | 121.0453 | 31.55% | 40.56% | 3.3661 | 3.5866 | 3.4792 | 3.3883 | 3.003% | 4.096%
SE | 26.6736 | 27.2714 | 21.2389 | 20.4383 | 4.591% | 4.462% | 0.37516 | 1.9203 | 1.8647 | 1.7448 | 0.5228% | 0.5703%
LL95 | 207.3083 | 145.1085 | 98.6 | 95.3954 | 22.76% | 30.76% | 2.6796 | 1.2789 | 1.2479 | 1.0813 | 2.045% | 2.898%
Median | 255.875 | 181.2656 | 121.9974 | 117.5156 | 31.48% | 41.35% | 3.3325 | 3.096 | 3.0081 | 2.9555 | 2.979% | 4.178%
UL95 | 317.2188 | 245.126 | 175.6818 | 169.1048 | 40.41% | 48.45% | 4.1439 | 8.7544 | 8.4552 | 8.0448 | 4.057% | 5.163%
Min | 184 | 141.0472 | 93.8756 | 93.7429 | 16.75% | 27.82% | 2.3925 | 0.62542 | 0.60346 | 0.54874 | 1.456% | 2.574%
Max | 336 | 293.0304 | 226.074 | 194.3074 | 44.98% | 50.21% | 4.4725 | 14.5208 | 14.1679 | 9.9406 | 4.667% | 5.426%
(1) Estimated from resampled monitoring data distribution.
| Table _. | BMP Reduction Model Results: NEORSD-W
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 183.0403 | 194.3756 | 137.5344 | 118.3224 | 29.18% | 40.56% | 3.3691 | 3.6802 | 3.576 | 3.4169 | 2.789% | 4.169%
SE | 23.7632 | 69.1715 | 53.7627 | 48.4828 | 9.57% | 9.913% | 0.34218 | 1.8772 | 1.8192 | 1.7191 | 1.071% | 1.238%
LL95 | 139.3083 | 115.4217 | 80.1264 | 62.6883 | 12.08% | 20.38% | 2.7333 | 1.4308 | 1.3844 | 1.1404 | 1.025% | 1.807%
Median | 183.0333 | 167.6868 | 117.1126 | 104.2056 | 28.91% | 43.21% | 3.3667 | 3.321 | 3.2083 | 3.0305 | 2.693% | 4.426%
UL95 | 226.5125 | 339.3349 | 275.7542 | 217.2135 | 46.7% | 53.91% | 4.0192 | 8.6281 | 8.3895 | 7.3834 | 4.91% | 6.009%
Min | 124.7333 | 102.8752 | 76.6559 | 59.743 | 6.272% | 16.14% | 2.5158 | 0.51112 | 0.49785 | 0.73434 | 0.5168% | 1.398%
Max | 241 | 440.7468 | 322.4733 | 287.2888 | 51.15% | 55.84% | 4.4158 | 14.4221 | 13.7391 | 11.3713 | 5.57% | 6.33%
(1) Estimated from resampled monitoring data distribution.
| Table _. | BMP Reduction Model Results: Palo Alto
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 218.125 | 246.2223 | 171.1246 | 145.1808 | 30.42% | 41.95% | 4.4335 | 5.1097 | 4.9617 | 4.8725 | 2.884% | 4.285%
SE | 18.4874 | 41.4955 | 31.7346 | 29.6389 | 5.72% | 5.256% | 0.89698 | 2.5436 | 2.468 | 2.5214 | 0.6415% | 0.6814%
LL95 | 183.8167 | 187.5361 | 130.7426 | 109.9178 | 19.22% | 30.7% | 3.1644 | 1.9139 | 1.8725 | 1.6671 | 1.693% | 2.891%
Median | 217.3333 | 244.1021 | 160.7679 | 136.086 | 30.3% | 43.09% | 4.2365 | 4.6301 | 4.5023 | 4.1943 | 2.847% | 4.409%
UL95 | 255.7 | 330.5755 | 248.2197 | 210.5441 | 40.92% | 49.86% | 6.4505 | 11.4779 | 11.0729 | 10.857 | 4.123% | 5.373%
Min | 163.3333 | 177.6345 | 122.2153 | 107.2778 | 14.15% | 25.67% | 2.5674 | 1.4425 | 1.4038 | 1.0703 | 1.213% | 2.345%
Max | 281.6667 | 379.3267 | 276.795 | 283.295 | 43.31% | 52.94% | 10.3648 | 22.1829 | 21.5647 | 15.804 | 4.439% | 5.852%
(1) Estimated from resampled monitoring data distribution.
| Table _. | BMP Reduction Model Results: SRCSD
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 197.7093 | 244.9164 | 180.1248 | 173.5695 | 26.39% | 32.61% | 8.6733 | 9.6801 | 9.4452 | 9.046 | 2.433% | 3.122%
SE | 28.4055 | 30.4967 | 23.5335 | 23.314 | 4.185% | 4.241% | 0.64518 | 5.2316 | 5.1067 | 4.3501 | 0.4438% | 0.4895%
LL95 | 149.6983 | 189.2052 | 138.2222 | 134.3419 | 18.39% | 24.57% | 7.5154 | 3.1969 | 3.1053 | 3.1752 | 1.613% | 2.231%
Median | 193.4583 | 243.8827 | 178.4753 | 170.4811 | 26.51% | 32.72% | 8.6417 | 8.4781 | 8.2791 | 7.9741 | 2.434% | 3.121%
UL95 | 263.8062 | 305.6761 | 227.3719 | 225.56 | 34.06% | 40.28% | 9.9882 | 22.4391 | 21.9131 | 19.5426 | 3.276% | 4.04%
Min | 117.9167 | 156.9082 | 123.0933 | 112.4415 | 15.21% | 21.73% | 7.1275 | 2.4433 | 2.3828 | 1.7064 | 1.312% | 1.941%
Max | 303.8417 | 331.3518 | 258.9809 | 250.2403 | 36.32% | 44.14% | 11.0858 | 40.3456 | 39.5479 | 31.6509 | 3.546% | 4.552%
(1) Estimated from resampled monitoring data distribution.
| Table _. | BMP Reduction Model Results: Westbrook
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 283.7737 | 433.2486 | 291.8272 | 225.0378 | 33.97% | 49.79% | 6.2468 | 3.6666 | 3.541 | 3.2744 | 3.413% | 5.567%
SE | 88.4588 | 309.297 | 249.9303 | 227.2453 | 13.5% | 13.29% | 1.3768 | 1.7672 | 1.7069 | 1.6503 | 1.578% | 1.77%
LL95 | 115.6917 | 198.3801 | 124.3448 | 94.2514 | 6.327% | 11.6% | 3.9213 | 1.2066 | 1.167 | 1.1124 | 0.5215% | 0.9813%
Median | 281.0667 | 313.7894 | 196.5015 | 131.071 | 35.87% | 54.46% | 6.1454 | 3.3758 | 3.2643 | 2.9239 | 3.492% | 6.099%
UL95 | 448.0429 | 1208.6167 | 1081.9093 | 1020.961 | 56.22% | 63.77% | 9.1826 | 7.989 | 7.758 | 7.2258 | 6.394% | 7.802%
Min | 56.5 | 144.4032 | 109.0702 | 85.239 | 3.21% | 6.479% | 2.69 | 0.89355 | 0.88323 | 0.81649 | 0.2607% | 0.5344%
Max | 558.725 | 1326.2638 | 1171.7454 | 1061.4454 | 61.46% | 64.82% | 11.0567 | 12.4769 | 12.0717 | 10.4436 | 7.345% | 8.018%
(1) Estimated from resampled monitoring data distribution.
| Table _. | BMP Reduction Model Results: WLSSD
| 12-sample mean influent Hg, ng/L |  |  |  | %Reduction |  | 12-sample mean effluent Hg, ng/L |  |  |  | %Reduction
| Monitoring data (1) | Load Model, pre-SC | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program | Monitoring data (1) | Load Model, pre-P2 | Load Model, Std BMPs | Load Model, Dlx BMPs | Std BMP Program | Deluxe BMP Program
Count | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Average | 100.7756 | 116.5897 | 79.0506 | 80.2953 | 32.41% | 37.88% | 6.3417 | 9.9482 | 9.6332 | 10.2034 | 3.156% | 3.81%
SE | 36.3969 | 36.6207 | 29.232 | 33.184 | 9.49% | 9.075% | 0.88893 | 5.0589 | 4.9002 | 5.7526 | 1.096% | 1.101%
LL95 | 54.9583 | 72.3922 | 47.2245 | 45.6388 | 14.48% | 18.35% | 4.6823 | 3.12 | 2.9982 | 3.1671 | 1.244% | 1.609%
Median | 92.5 | 101.4852 | 69.5801 | 68.9434 | 32.62% | 39.38% | 6.2994 | 8.8533 | 8.464 | 8.8403 | 3.109% | 3.926%
UL95 | 188.7333 | 197.1323 | 139.6479 | 166.4496 | 48.38% | 51.77% | 8.16 | 22.2194 | 21.3484 | 25.4135 | 5.153% | 5.666%
Min | 44.1667 | 64.7934 | 41.6015 | 42.2885 | 9.811% | 15.7% | 4.062 | 1.6776 | 1.6493 | 1.6911 | 0.8227% | 1.357%
Max | 265.8333 | 266.3394 | 231.8682 | 211.6724 | 53.25% | 55.59% | 10.1784 | 36.6872 | 35.1051 | 41.1884 | 5.901% | 6.288%
(1) Estimated from resampled monitoring data distribution.